## Citation
This Supplementary Material accompanies the following article:
Lerner, G. A., Siebe, C., Ramírez-Uribe, I. and Fisher, C. T. (2024) “Temporal and morphological eruption characteristics of lava flows from the Holocene La Taza monogenetic cone obtained from petrology and LiDAR imagery (Michoacán, Mexico)”, Volcanica, 7(2), pp. 587–606. doi: 10.30909/vol.07.02.587606.
Lerner et al. (2024) should be cited if these materials are used.

## Results
|  |  | Analyte Symbol | SiO2 | Al2O3 | Fe2O3(T) | MnO | MgO | CaO | Na2O | K2O | TiO2 | P2O5 | LOI | Total | Au | Ag | As | Ba | Be | Bi | Br | Cd | Co | Cr | Cs | Cu | Ga | Ge | Hf | Hg | In | Ir | Mo | Nb | Ni | Pb | Rb | S | Sb | Sc | Se | Sn | Sr | Ta | Th | U | V | W | Y | Zn | Zr | La | Ce | Pr | Nd | Sm | Eu | Gd | Tb | Dy | Ho | Er | Tl | Tm | Yb | Lu | Mass
|  |  | Unit Symbol | % | % | % | % | % | % | % | % | % | % | % | % | ppb | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppb | ppm | ppm | ppm | ppm | ppm | % | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | g
| Site Location |  | Detection Limit | 0.01 | 0.01 | 0.01 | 0.001 | 0.01 | 0.01 | 0.01 | 0.01 | 0.001 | 0.01 |  | 0.01 | 1 | 0.5 | 1 | 1 | 1 | 0.1 | 0.5 | 0.5 | 0.1 | 0.5 | 0.1 | 1 | 1 | 0.5 | 0.1 | 1 | 0.1 | 1 | 2 | 0.2 | 1 | 5 | 1 | 0.001 | 0.1 | 0.01 | 0.5 | 1 | 2 | 0.01 | 0.05 | 0.01 | 5 | 1 | 1 | 1 | 1 | 0.05 | 0.05 | 0.01 | 0.05 | 0.01 | 0.005 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.05 | 0.005 | 0.01 | 0.002
Description | Latitude | Longitude | Analysis Method | FUS-ICP | FUS-ICP | FUS-ICP | FUS-ICP | FUS-ICP | FUS-ICP | FUS-ICP | FUS-ICP | FUS-ICP | FUS-ICP | FUS-ICP | FUS-ICP | INAA | MULT INAA / TD-ICP | INAA | FUS-ICP | FUS-ICP | FUS-MS | INAA | TD-ICP | INAA | INAA | FUS-MS | TD-ICP | FUS-MS | FUS-MS | FUS-MS | INAA | FUS-MS | INAA | FUS-MS | FUS-MS | TD-ICP | TD-ICP | FUS-MS | TD-ICP | INAA | INAA | INAA | FUS-MS | FUS-ICP | FUS-MS | FUS-MS | FUS-MS | FUS-ICP | INAA | FUS-ICP | MULT INAA / TD-ICP | FUS-ICP | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | INAA
Lava 1 | 19° 33’52.0” | 101° 42’32.8” | 2216A | 57.61 | 17.59 | 7.23 | 0.109 | 4.24 | 6.81 | 3.81 | 1.57 | 0.93 | 0.28 | -0.37 | 99.81 | 1 | < 0.5 | < 1 | 545 | 1 | < 0.1 | < 0.5 | < 0.5 | 22.6 | 74.7 | 0.6 | 31 | 19 | 1.3 | 3.8 | < 1 | 0.2 | < 1 | 2 | 7.7 | 50 | 5 | 27 | 0.004 | < 0.1 | 16.2 | < 0.5 | 1 | 576 | 0.61 | 2.03 | 0.63 | 141 | < 1 | 17 | 79 | 163 | 20.3 | 41 | 5.09 | 21 | 4.27 | 1.25 | 3.88 | 0.56 | 3.19 | 0.64 | 1.8 | 0.08 | 0.257 | 1.56 | 0.249 | 1.88
Lava 3 | 19° 31’20.2” | 101° 42’45.9” | 2212 | 57.78 | 16.8 | 7.13 | 0.11 | 4.05 | 6.76 | 3.72 | 1.5 | 0.898 | 0.25 | -0.29 | 98.72 | 1 | < 0.5 | < 1 | 520 | 1 | < 0.1 | 1.2 | < 0.5 | 22.3 | 67.2 | 0.6 | 30 | 19 | 1.3 | 3.8 | < 1 | 0.2 | < 1 | 2 | 7.3 | 44 | < 5 | 27 | 0.007 | < 0.1 | 16 | < 0.5 | 1 | 561 | 0.55 | 1.93 | 0.64 | 135 | < 1 | 16 | 80 | 156 | 19.2 | 38.7 | 4.88 | 20.1 | 4.09 | 1.16 | 3.71 | 0.54 | 3.22 | 0.6 | 1.72 | 0.09 | 0.239 | 1.57 | 0.25 | 1.731
Lava 3 | 19° 31’09.4” | 101° 43’10.5” | 2201 | 58.1 | 17.15 | 6.94 | 0.106 | 4.24 | 6.74 | 3.77 | 1.54 | 0.869 | 0.27 | 0.16 | 99.89 | < 1 | < 0.5 | 1 | 522 | 1 | < 0.1 | < 0.5 | < 0.5 | 22.5 | 83.7 | 0.6 | 26 | 18 | 1.2 | 3.6 | < 1 | 0.2 | < 1 | < 2 | 6.8 | 55 | < 5 | 26 | 0.01 | < 0.1 | 15.4 | < 0.5 | 1 | 585 | 0.53 | 1.91 | 0.63 | 134 | < 1 | 15 | 78 | 149 | 18.8 | 38.3 | 4.76 | 19.5 | 4.07 | 1.15 | 3.48 | 0.51 | 3.01 | 0.6 | 1.67 | 0.11 | 0.231 | 1.49 | 0.25 | 1.981
Lava 1 | 19° 33’26.2” | 101° 42’11.2” | 2215 | 58.76 | 17.02 | 6.64 | 0.104 | 4.01 | 6.57 | 3.71 | 1.71 | 0.827 | 0.24 | 0.23 | 99.83 | 3 | < 0.5 | 2 | 582 | 1 | < 0.1 | < 0.5 | < 0.5 | 19.8 | 81.2 | 0.7 | 33 | 18 | 1.3 | 3.8 | < 1 | 0.2 | < 1 | 2 | 6.6 | 44 | 5 | 32 | 0.003 | < 0.1 | 16.2 | < 0.5 | 1 | 484 | 0.51 | 2.32 | 0.75 | 134 | < 1 | 17 | 74 | 163 | 19.7 | 39.3 | 4.87 | 19.6 | 4.05 | 1.1 | 3.65 | 0.54 | 3.21 | 0.63 | 1.75 | 0.1 | 0.256 | 1.64 | 0.263 | 1.822
Lava 6 | 19° 31’46.7” | 101° 43’27.6” | 2207 | 60.28 | 16.14 | 6.46 | 0.102 | 3.82 | 6.35 | 3.53 | 1.85 | 0.716 | 0.22 | -0.45 | 99.02 | < 1 | 0.5 | 2 | 640 | 1 | < 0.1 | < 0.5 | < 0.5 | 20.2 | 86.8 | 1 | 33 | 18 | 1.2 | 4.1 | < 1 | 0.2 | < 1 | 2 | 6.2 | 47 | 7 | 38 | 0.004 | < 0.1 | 15.8 | < 0.5 | 1 | 441 | 0.5 | 2.81 | 0.92 | 127 | < 1 | 18 | 74 | 175 | 21.3 | 42 | 5.13 | 20.8 | 4.07 | 1.1 | 3.69 | 0.55 | 3.28 | 0.64 | 1.87 | 0.12 | 0.266 | 1.72 | 0.276 | 1.849
Lava 1 | 19° 32’44.1” | 101° 41’55.5” | 2213 | 60.5 | 16.63 | 6.67 | 0.104 | 3.33 | 5.99 | 3.78 | 1.92 | 0.907 | 0.31 | -0.25 | 99.89 | < 1 | < 0.5 | < 1 | 661 | 2 | < 0.1 | < 0.5 | < 0.5 | 18.7 | 60.2 | 0.8 | 26 | 18 | 1.2 | 4.8 | < 1 | 0.2 | < 1 | 2 | 10.3 | 36 | 6 | 38 | 0.003 | < 0.1 | 14.3 | < 0.5 | 1 | 499 | 0.81 | 2.82 | 0.88 | 119 | < 1 | 19 | 80 | 194 | 24.4 | 47.8 | 5.85 | 23.3 | 4.82 | 1.24 | 4.25 | 0.61 | 3.59 | 0.71 | 2.01 | 0.12 | 0.29 | 1.89 | 0.303 | 1.816
Lava 7 | 19° 31’02.3” | 101° 43’08.6” | 2202A | 60.58 | 16.54 | 6.41 | 0.102 | 3.93 | 6.37 | 3.53 | 1.86 | 0.712 | 0.21 | -0.32 | 99.93 | 2 | < 0.5 | < 1 | 634 | 1 | < 0.1 | < 0.5 | < 0.5 | 21 | 94.7 | 1 | 33 | 18 | 1.4 | 4.2 | < 1 | 0.2 | < 1 | 2 | 6.4 | 49 | 7 | 38 | 0.004 | < 0.1 | 15.9 | < 0.5 | 1 | 447 | 0.52 | 2.82 | 0.9 | 126 | < 1 | 17 | 76 | 169 | 22.1 | 43.5 | 5.29 | 21 | 4.26 | 1.1 | 3.68 | 0.57 | 3.26 | 0.64 | 1.85 | 0.14 | 0.281 | 1.74 | 0.284 | 1.791
Bomb | 19° 31’25.9” | 101° 43’39.6” | 2203A | 60.72 | 17.21 | 6.45 | 0.099 | 3.46 | 6.04 | 3.69 | 1.94 | 0.823 | 0.26 | -0.45 | 100.3 | < 1 | < 0.5 | < 1 | 660 | 2 | < 0.1 | < 0.5 | < 0.5 | 19.2 | 64.7 | 0.9 | 27 | 18 | 1.3 | 4.3 | < 1 | 0.2 | < 1 | 2 | 8.6 | 42 | 7 | 39 | 0.003 | < 0.1 | 13.9 | < 0.5 | 1 | 493 | 0.65 | 2.87 | 0.92 | 116 | < 1 | 18 | 75 | 179 | 23 | 45.8 | 5.48 | 21.7 | 4.49 | 1.15 | 3.88 | 0.56 | 3.36 | 0.65 | 1.78 | 0.13 | 0.251 | 1.69 | 0.272 | 1.859
Lava 1 | 19° 33’35.2” | 101° 43’57.0” | 2218 | 61.19 | 16.29 | 5.97 | 0.093 | 3.11 | 5.69 | 3.57 | 1.92 | 0.701 | 0.23 | -0.24 | 98.53 | 1 | < 0.5 | 2 | 682 | 2 | < 0.1 | 1 | < 0.5 | 17.3 | 61.3 | 1 | 25 | 19 | 1.2 | 4.6 | < 1 | 0.2 | < 1 | 2 | 6.9 | 37 | 6 | 40 | 0.001 | < 0.1 | 13.2 | < 0.5 | 1 | 474 | 0.57 | 2.93 | 0.93 | 109 | < 1 | 16 | 74 | 181 | 23.2 | 45.2 | 5.44 | 21.8 | 4.4 | 1.12 | 3.73 | 0.54 | 3.28 | 0.62 | 1.72 | 0.15 | 0.252 | 1.67 | 0.267 | 1.79
Lava 4 | 19° 32’00.9” | 101° 41’30.0” | 2208 | 62.04 | 16.33 | 6.03 | 0.094 | 3.06 | 5.7 | 3.61 | 1.95 | 0.678 | 0.22 | -0.37 | 99.34 | < 1 | 0.5 | 1 | 696 | 2 | < 0.1 | < 0.5 | < 0.5 | 17.2 | 64.2 | 1 | 24 | 18 | 1.3 | 4.3 | < 1 | 0.2 | < 1 | 2 | 6.6 | 34 | 7 | 40 | 0.004 | < 0.1 | 13.2 | < 0.5 | 1 | 478 | 0.56 | 3.07 | 1 | 106 | < 1 | 17 | 74 | 179 | 23.8 | 46.5 | 5.51 | 21.9 | 4.36 | 1.12 | 3.78 | 0.56 | 3.2 | 0.62 | 1.75 | 0.15 | 0.251 | 1.72 | 0.275 | 1.635
Lava 3 | 19° 31’20.2” | 101° 43’26.6” | 2210 | 62.04 | 15.65 | 6 | 0.094 | 2.96 | 5.7 | 3.57 | 1.94 | 0.667 | 0.24 | -0.39 | 98.47 | < 1 | 0.5 | < 1 | 697 | 2 | < 0.1 | < 0.5 | < 0.5 | 17.3 | 63.2 | 1 | 24 | 19 | 1.2 | 4.4 | < 1 | 0.2 | < 1 | 2 | 7 | 34 | 7 | 41 | 0.003 | < 0.1 | 12.9 | < 0.5 | 1 | 461 | 0.56 | 3.07 | 0.96 | 105 | < 1 | 16 | 76 | 183 | 24 | 47.4 | 5.64 | 22 | 4.59 | 1.09 | 3.83 | 0.58 | 3.26 | 0.63 | 1.81 | 0.14 | 0.253 | 1.71 | 0.261 | 1.827
Lava 2 | 19° 31’25.3” | 101° 43’45.4” | 2205 | 62.06 | 16.42 | 6.01 | 0.094 | 3.01 | 5.63 | 3.65 | 2.03 | 0.683 | 0.23 | -0.38 | 99.43 | 2 | < 0.5 | < 1 | 706 | 2 | < 0.1 | < 0.5 | < 0.5 | 16.8 | 60 | 1 | 24 | 18 | 1.3 | 4.5 | < 1 | 0.2 | < 1 | 2 | 6.6 | 34 | 6 | 40 | 0.004 | < 0.1 | 12.8 | < 0.5 | 1 | 473 | 0.59 | 3.07 | 0.96 | 105 | < 1 | 17 | 75 | 181 | 23.7 | 46.6 | 5.64 | 21.6 | 4.24 | 1.08 | 3.78 | 0.55 | 3.26 | 0.64 | 1.78 | 0.12 | 0.269 | 1.75 | 0.292 | 1.74
Lava 5 | 19° 31’48.1” | 101° 43’34.1” | 2206 | 62.19 | 16.18 | 5.91 | 0.093 | 2.94 | 5.58 | 3.57 | 2 | 0.673 | 0.22 | -0.36 | 99 | < 1 | < 0.5 | 2 | 709 | 2 | < 0.1 | < 0.5 | < 0.5 | 15.9 | 66.3 | 1 | 26 | 18 | 1.2 | 4.4 | < 1 | 0.2 | < 1 | 2 | 7 | 34 | 9 | 43 | 0.003 | < 0.1 | 12.7 | < 0.5 | 1 | 464 | 0.56 | 3.19 | 1 | 104 | < 1 | 17 | 77 | 186 | 24.4 | 47.9 | 5.77 | 22.3 | 4.47 | 1.1 | 3.76 | 0.56 | 3.15 | 0.62 | 1.75 | 0.16 | 0.264 | 1.73 | 0.278 | 1.724
Lava 4 | 19° 31’21.4” | 101° 43’14.5” | 2209 | 62.24 | 16.15 | 5.99 | 0.094 | 2.96 | 5.66 | 3.57 | 1.99 | 0.677 | 0.22 | -0.34 | 99.22 | < 1 | 0.5 | < 1 | 710 | 2 | < 0.1 | < 0.5 | < 0.5 | 17 | 64.2 | 1 | 24 | 19 | 1.3 | 4.4 | < 1 | 0.2 | < 1 | 2 | 7.2 | 34 | 9 | 43 | 0.002 | < 0.1 | 12.8 | < 0.5 | 1 | 466 | 0.63 | 3.24 | 1.01 | 105 | < 1 | 16 | 74 | 186 | 24.7 | 48.4 | 5.82 | 22.8 | 4.76 | 1.16 | 3.84 | 0.57 | 3.39 | 0.64 | 1.86 | 0.15 | 0.259 | 1.71 | 0.274 | 1.824
Lava 2 | 19° 32’51.1” | 101° 44’13.9” | 2217 | 63.04 | 16.44 | 5.97 | 0.094 | 3.03 | 5.66 | 3.64 | 2.03 | 0.683 | 0.24 | -0.5 | 100.3 | 2 | < 0.5 | 2 | 718 | 2 | < 0.1 | 0.7 | < 0.5 | 15.5 | 62.4 | 1 | 24 | 19 | 1.3 | 4.7 | < 1 | 0.2 | < 1 | 2 | 7.3 | 35 | 9 | 42 | 0.002 | < 0.1 | 13.1 | < 0.5 | 1 | 480 | 0.6 | 3.12 | 1 | 108 | < 1 | 17 | 76 | 189 | 24.4 | 47.7 | 5.68 | 22.9 | 4.49 | 1.14 | 3.81 | 0.55 | 3.32 | 0.65 | 1.83 | 0.11 | 0.261 | 1.73 | 0.276 | 1.87
LOI = loss on ignition, INAA = Instrumental Neutron Activation Analysis, FUS-ICP = Fusion-Inductively Coupled Plasma, TD-ICP = Total Digestion-Inductively Coupled Plasma.
Samples are ordered from lowest to highest SiO2 content

## Standards
Report Number: A22-06898
Report Date: 12/7/2022
Analyte Symbol | SiO2 | Al2O3 | Fe2O3(T) | MnO | MgO | CaO | Na2O | K2O | TiO2 | P2O5 | Total | Au | Ag | Ag | As | Ba | Be | Bi | Br | Cd | Co | Cr | Cs | Cu | Ga | Ge | Hf | Hg | In | Ir | Mo | Nb | Ni | Pb | Rb | S | Sb | Sc | Se | Sn | Sr | Ta | Th | U | V | W | Y | Zn | Zn | Zr | La | Ce | Pr | Nd | Sm | Eu | Gd | Tb | Dy | Ho | Er | Tl | Tm | Yb | Lu | Mass
Unit Symbol | % | % | % | % | % | % | % | % | % | % | % | ppb | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppb | ppm | ppm | ppm | ppm | ppm | % | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | g
Detection Limit | 0.01 | 0.01 | 0.01 | 0.001 | 0.01 | 0.01 | 0.01 | 0.01 | 0.001 | 0.01 | 0.01 | 1 | 0.5 | 5 | 1 | 1 | 1 | 0.1 | 0.5 | 0.5 | 0.1 | 0.5 | 0.1 | 1 | 1 | 0.5 | 0.1 | 1 | 0.1 | 1 | 2 | 0.2 | 1 | 5 | 1 | 0.001 | 0.1 | 0.01 | 0.5 | 1 | 2 | 0.01 | 0.05 | 0.01 | 5 | 1 | 1 | 1 | 50 | 1 | 0.05 | 0.05 | 0.01 | 0.05 | 0.01 | 0.005 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.05 | 0.005 | 0.01 | 0.002
Analysis Method | FUS-ICP | FUS-ICP | FUS-ICP | FUS-ICP | FUS-ICP | FUS-ICP | FUS-ICP | FUS-ICP | FUS-ICP | FUS-ICP | FUS-ICP | INAA | TD-ICP | INAA | INAA | FUS-ICP | FUS-ICP | FUS-MS | INAA | TD-ICP | INAA | INAA | FUS-MS | TD-ICP | FUS-MS | FUS-MS | FUS-MS | INAA | FUS-MS | INAA | FUS-MS | FUS-MS | TD-ICP | TD-ICP | FUS-MS | TD-ICP | INAA | INAA | INAA | FUS-MS | FUS-ICP | FUS-MS | FUS-MS | FUS-MS | FUS-ICP | INAA | FUS-ICP | TD-ICP | INAA | FUS-ICP | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | INAA
NIST 694 Meas | 11.4 | 1.91 | 0.74 | 0.01 | 0.35 | 43.39 | 0.88 | 0.55 |  | 29.04 |  | V: 1585
NIST 694 Cert | 11.2 | 1.8 | 0.79 | 0.0116 | 0.33 | 43.6 | 0.86 | 0.51 |  | 30.2 |  | V: 1740
DNC-1 Meas | 47.27 | 18.7 | 9.91 | 0.15 | 10.07 | 11.58 | 1.89 | 0.22 | 0.49 | 0.07 |  | Ba: 104; Sr: 145; V: 150; Y: 16; Zr: 37
DNC-1 Cert | 47.15 | 18.34 | 9.97 | 0.15 | 10.13 | 11.49 | 1.89 | 0.234 | 0.48 | 0.07 |  | Ba: 118; Sr: 144; V: 148; Y: 18; Zr: 38
GBW 07113 Meas | 69.84 | 12.86 | 3.21 | 0.14 | 0.14 | 0.59 | 2.45 | 5.36 | 0.28 | 0.05 |  | Ba: 500; Be: 4; Sr: 42; V: < 5; Y: 46; Zr: 406
GBW 07113 Cert | 72.8 | 13 | 3.21 | 0.14 | 0.16 | 0.59 | 2.57 | 5.43 | 0.3 | 0.05 |  | Ba: 506; Be: 4; Sr: 43; V: 5; Y: 43; Zr: 403
SY-4 Meas | 49.87 | 21.01 | 6.11 | 0.11 | 0.51 | 8.02 | 7.01 | 1.68 | 0.29 | 0.12 |  | Ba: 347; Be: 3; Cs: 1.5; Ga: 34; Hf: 11.4; Nb: 14.2; Rb: 55; Sr: 1233; Ta: 0.87; Th: 1.4; U: 0.9; V: 8; Y: 118; La: 61.4; Ce: 129; Pr: 15.5; Nd: 59.2; Sm: 13.3; Eu: 1.98; Gd: 14.3; Tb: 2.76; Dy: 19.7; Ho: 4.39; Er: 14.8; Tm: 2.3; Yb: 15.1; Lu: 2.2
SY-4 Cert | 49.9 | 20.69 | 6.21 | 0.108 | 0.54 | 8.05 | 7.1 | 1.66 | 0.287 | 0.131 |  | Ba: 340; Be: 2.6; Cs: 1.5; Ga: 35; Hf: 10.6; Nb: 13; Rb: 55; Sr: 1191; Ta: 0.9; Th: 1.4; U: 0.8; V: 8; Y: 119; La: 58; Ce: 122; Pr: 15; Nd: 57; Sm: 12.7; Eu: 2; Gd: 14; Tb: 2.6; Dy: 18.2; Ho: 4.3; Er: 14.2; Tm: 2.3; Yb: 14.8; Lu: 2.1
BIR-1a Meas | 48.19 | 15.87 | 11.42 | 0.17 | 9.69 | 13.64 | 1.8 | 0.02 | 0.99 | 0.04 |  | Ba: 7; Be: < 1; Ga: 14; Hf: 0.5; Sr: 110; V: 323; Y: 13; Zr: 15; La: 0.69; Ce: 2; Nd: 2.4; Sm: 1.1; Eu: 0.52; Gd: 1.9; Yb: 1.6
BIR-1a Cert | 47.96 | 15.5 | 11.3 | 0.175 | 9.7 | 13.3 | 1.82 | 0.03 | 0.96 | 0.021 |  | Ba: 6; Be: 0.58; Ga: 16; Hf: 0.6; Sr: 110; V: 310; Y: 16; Zr: 18; La: 0.63; Ce: 1.9; Nd: 2.5; Sm: 1.1; Eu: 0.55; Gd: 2; Yb: 1.7
ZW-C Meas | [11 empty] | Cs: 263; Ga: 92; Nb: 211; Rb: > 1000; Sn: > 1000; Ta: 84.5; U: 20; La: 31.7; Ce: 99.3; Pr: 10; Nd: 26.4; Sm: 7.1; Gd: 4.8; Tl: 32.7
ZW-C Cert | [11 empty] | Cs: 260; Ga: 99; Nb: 198; Rb: 8500; Sn: 1300; Ta: 82; U: 20; La: 30; Ce: 97; Pr: 9.5; Nd: 25; Sm: 6.6; Gd: 4.7; Tl: 34
OREAS 100a (4 Acid) Meas | [11 empty] | Co: 17
OREAS 100a (4 Acid) Cert | [11 empty] | Co: 17.5
OREAS 101b (Fusion) Meas | [11 empty] | Mo: 19; Th: 38.6; U: 403; La: 773; Ce: 1310; Pr: 129; Nd: 392; Sm: 50; Eu: 7.99; Tb: 5.46; Dy: 32.9; Ho: 6.44; Er: 19.3; Tm: 2.75; Yb: 17.8; Lu: 2.66
OREAS 101b (Fusion) Cert | [11 empty] | Mo: 21; Th: 37.1; U: 396; La: 789; Ce: 1331; Pr: 127; Nd: 378; Sm: 48; Eu: 7.77; Tb: 5.37; Dy: 32.1; Ho: 6.34; Er: 18.7; Tm: 2.66; Yb: 17.6; Lu: 2.58
OREAS 101b (4 Acid) Meas | [11 empty] | Cu: 422; Ni: 9; Pb: 20
OREAS 101b (4 Acid) Cert | [11 empty] | Cu: 412; Ni: 8.2; Pb: 23
OREAS 98 (4 Acid) Meas | [11 empty] | Ag: 43.3; Cu: > 10000; Pb: 315; S: 16.7; Zn: 1320
OREAS 98 (4 Acid) Cert | [11 empty] | Ag: 45.1; Cu: 148000; Pb: 345; S: 15.5; Zn: 1360
NCS DC86318 Meas | [11 empty] | Cs: 11.3; Rb: 390; Th: 72.7; La: 1940; Ce: 431; Pr: 701; Nd: 3270; Sm: 1660; Eu: 19; Gd: > 1000; Tb: 476; Dy: > 1000; Ho: 569; Er: 1680; Tm: 270; Yb: 1810; Lu: 260
NCS DC86318 Cert | [11 empty] | Cs: 11.88; Rb: 369.42; Th: 67; La: 1960; Ce: 432; Pr: 737; Nd: 3429; Sm: 1725; Eu: 18.91; Gd: 2168; Tb: 468; Dy: 3224; Ho: 560; Er: 1750; Tm: 271; Yb: 1844; Lu: 264
OREAS 13b (4-Acid) Meas | [11 empty] | Ag: 0.9; Cu: 2460; Ni: 2080; S: 1.2; Zn: 126
OREAS 13b (4-Acid) Cert | [11 empty] | Ag: 0.86; Cu: 2327; Ni: 2247; S: 1.2; Zn: 133
BCR-2 Meas | 53.25 | 13.36 | 13.69 | 0.19 | 3.53 | 6.97 | 3.08 | 1.8 | 2.21 | 0.35 |  | Ba: 697; Sr: 339; V: 413; Y: 32; Zr: 182
BCR-2 Cert | 54.1 | 13.5 | 13.8 | 0.196 | 3.59 | 7.12 | 3.16 | 1.79 | 2.26 | 0.35 |  | Ba: 683; Sr: 346; V: 416; Y: 37; Zr: 188
USZ 42-2006 Meas | [11 empty] | Mo: 36; Nb: 35; Rb: 61; Th: 948; La: > 10000; Ce: > 3000; Pr: > 1000; Nd: 6330; Sm: 517; Eu: 87; Dy: 53; Ho: 7.86; Yb: 18.3
USZ 42-2006 Cert | [11 empty] | Mo: 34.4; Nb: 31; Rb: 67.12; Th: 946; La: 21100; Ce: 27600; Pr: 2300; Nd: 6500; Sm: 539; Eu: 87.22; Dy: 57.63; Ho: 7.86; Yb: 17.85
OREAS 904 (4 Acid) Meas | [11 empty] | Ag: 0.5; Cu: 6160; Ni: 46; Pb: 10; S: 0.061; Zn: 29
OREAS 904 (4 Acid) Cert | [11 empty] | Ag: 0.551; Cu: 6120; Ni: 40.1; Pb: 10.6; S: 0.063; Zn: 26.3
OREAS 45d (4-Acid) Meas | [11 empty] | Cu: 391; Ni: 239; Pb: 17; S: 0.047; Zn: 48
OREAS 45d (4-Acid) Cert | [11 empty] | Cu: 371; Ni: 231; Pb: 21.8; S: 0.049; Zn: 45.7
REE-1 Meas | [11 empty] | Cs: 1.1; Hf: > 100; Rb: > 1000; Sn: 494; Th: 762; U: 141; La: 1680; Ce: > 3000; Pr: 439; Nd: 1490; Sm: 397; Eu: 24.7; Gd: 444; Tb: 115; Dy: 915; Ho: 216; Er: 737; Tm: 113; Yb: 727
REE-1 Cert | [11 empty] | Cs: 1.07; Hf: 479; Rb: 1050; Sn: 498; Th: 719; U: 137; La: 1661; Ce: 3960; Pr: 435; Nd: 1456; Sm: 381; Eu: 23.5; Gd: 433; Tb: 106; Dy: 847; Ho: 208; Er: 701; Tm: 106; Yb: 678
OREAS 905 (INAA) Meas | [11 empty] | Au: 373; As: 35; Co: 15.7; Sb: 1.9; W: < 1; Zn: 120
OREAS 905 (INAA) Cert | [11 empty] | Au: 391; As: 36.2; Co: 15.3; Sb: 1.96; W: 3.02; Zn: 139
OREAS 96 (4 Acid) Meas | [11 empty] | Ag: 11.5; Cu: > 10000; Pb: 93; S: 4.41; Zn: 463
OREAS 96 (4 Acid) Cert | [11 empty] | Ag: 11.5; Cu: 39300; Pb: 101; S: 4.19; Zn: 457
Oreas 77b (4 Acid) Meas | [11 empty] | Ag: 1.6; Cd: 1.2; Cu: 3390; Ni: > 10000; Pb: 50; Zn: 181
Oreas 77b (4 Acid) Cert | [11 empty] | Ag: 1.62; Cd: 1.2; Cu: 3430; Ni: 113000; Pb: 61; Zn: 205
Oreas 72b (4 Acid) Meas | [11 empty] | Ag: < 0.5; Cd: < 0.5; Cu: 217; Ni: 6370; Pb: 10; S: 1.49; Zn: 94
Oreas 72b (4 Acid) Cert | [11 empty] | Ag: 0.23; Cd: 0.31; Cu: 222; Ni: 6860; Pb: 14.9; S: 1.49; Zn: 99
W-2b Meas | 51.78 | 15.19 | 10.74 | 0.16 | 6.23 | 11.07 | 2.2 | 0.61 | 1.07 | 0.14 |  | Ba: 177; Be: < 1; Bi: < 0.1; Cs: 0.8; Ga: 16; Ge: 1.5; Hf: 2.5; Mo: < 2; Nb: 7.2; Rb: 20; Sr: 194; Ta: 0.46; Th: 2.4; U: 0.56; V: 264; Y: 19; Zr: 92; La: 11.2; Ce: 23.9; Nd: 13.1; Sm: 3.3; Eu: 1.1; Tb: 0.64; Ho: 0.8; Er: 2.3; Tl: 0.09; Yb: 2.1; Lu: 0.32
W-2b Cert | 52.4 | 15.4 | 10.7 | 0.163 | 6.37 | 10.9 | 2.14 | 0.626 | 1.06 | 0.14 |  | Ba: 182; Be: 1.3; Bi: 0.03; Cs: 0.99; Ga: 17; Ge: 1; Hf: 2.6; Mo: 0.6; Nb: 7.9; Rb: 21; Sr: 190; Ta: 0.5; Th: 2.4; U: 0.53; V: 262; Y: 24; Zr: 94; La: 10; Ce: 23; Nd: 13; Sm: 3.3; Eu: 1; Tb: 0.63; Ho: 0.76; Er: 2.5; Tl: 0.2; Yb: 2.1; Lu: 0.33
OREAS 681 (4 Acid) Meas | [11 empty] | Ag: < 0.5; Cu: 264; Ni: 453; Pb: 7; S: 0.098; Zn: 81
OREAS 681 (4 Acid) Cert | [11 empty] | Ag: 0.118; Cu: 264; Ni: 503; Pb: 10.2; S: 0.109; Zn: 88
OREAS 681 (4 Acid) Meas | [11 empty] | Ag: < 0.5; Cu: 273; Ni: 452; Pb: 5; S: 0.105; Zn: 82
OREAS 681 (4 Acid) Cert | [11 empty] | Ag: 0.118; Cu: 264; Ni: 503; Pb: 10.2; S: 0.109; Zn: 88
OREAS 147 (4 Acid) Meas | [11 empty] | Cu: 310; Ni: 22; Pb: 27; S: 0.024; Zn: 148
OREAS 147 (4 Acid) Cert | [11 empty] | Cu: 298; Ni: 21.2; Pb: 27.8; S: 0.03; Zn: 138
Oreas 521 (4 Acid) Meas | [11 empty] | Ag: 1.2; Cu: 5950; Ni: 68; Pb: 8; S: 1.74; Zn: 26
Oreas 521 (4 Acid) Cert | [11 empty] | Ag: 0.89; Cu: 6070; Ni: 73; Pb: 9; S: 1.8; Zn: 24
OREAS 70b (4 Acid) Meas | [11 empty] | Ag: < 0.5; Cd: < 0.5; Cu: 47; Ni: 1960; Pb: 9; S: 0.292; Zn: 104
OREAS 70b (4 Acid) Cert | [11 empty] | Ag: 0.2; Cd: 0.4; Cu: 52; Ni: 2180; Pb: 10; S: 0.309; Zn: 112
OREAS 620 (4 Acid) Meas | [11 empty] | Ag: 39; Cd: 164; Cu: 1770; Ni: 16; Pb: > 5000; S: 2.51; Zn: > 10000
OREAS 620 (4 Acid) Cert | [11 empty] | Ag: 38.5; Cd: 163; Cu: 1730; Ni: 15; Pb: 7740; S: 2.47; Zn: 31500
OREAS 753 (4 Acid) Meas | [11 empty] | Cd: 1.6; Cu: 20; Ni: 12; Pb: 8; S: 0.013; Zn: 98
OREAS 753 (4 Acid) Cert | [11 empty] | Cd: 1.5; Cu: 18; Ni: 11; Pb: 10; S: 0.014; Zn: 87
TAZ-2204 Orig | [11 empty] | Ag: < 0.5; Cd: < 0.5; Cu: 34; Ni: 62; Pb: < 5; S: 0.002; Zn: 80
TAZ-2204 Dup | [11 empty] | Ag: < 0.5; Cd: < 0.5; Cu: 33; Ni: 63; Pb: 5; S: 0.002; Zn: 81
TAZ-2215 Orig | 58.98 | 16.68 | 6.71 | 0.104 | 3.98 | 6.65 | 3.63 | 1.66 | 0.831 | 0.24 | 99.7 |  |  |  |  | 575 | 1 | < 0.1 |  |  |  |  | 0.7 |  | 18 | 1.3 | 3.9 |  | 0.2 |  | 2 | 6.7 |  |  | 32 |  |  |  |  | 1 | 480 | 0.51 | 2.35 | 0.74 | 133 |  | 17 |  |  | 162 | 20.1 | 40.2 | 4.95 | 19.9 | 4.18 | 1.13 | 3.71 | 0.56 | 3.31 | 0.63 | 1.75 | 0.1 | 0.258 | 1.68 | 0.267
TAZ-2215 Dup | 58.54 | 17.36 | 6.58 | 0.103 | 4.03 | 6.5 | 3.79 | 1.77 | 0.823 | 0.24 | 99.97 |  |  |  |  | 589 | 1 | < 0.1 |  |  |  |  | 0.7 |  | 17 | 1.2 | 3.8 |  | 0.2 |  | 2 | 6.4 |  |  | 32 |  |  |  |  | 1 | 489 | 0.51 | 2.28 | 0.75 | 135 |  | 17 |  |  | 165 | 19.3 | 38.5 | 4.79 | 19.3 | 3.93 | 1.08 | 3.6 | 0.53 | 3.11 | 0.63 | 1.76 | 0.1 | 0.254 | 1.6 | 0.259
Method Blank | 0.01 | < 0.01 | < 0.01 | 0.003 | < 0.01 | 0.01 | < 0.01 | < 0.01 | < 0.001 | 0.03 | [5 empty] | < 1 | < 1 | < 0.1 |  |  |  |  | < 0.1 |  | < 1 | < 0.5 | < 0.1 |  | < 0.1 |  | < 2 | < 0.2 |  |  | < 1 |  |  |  |  | < 1 | < 2 | < 0.01 | < 0.05 | < 0.01 | < 5 |  | < 1 |  |  | 1 | < 0.05 | < 0.05 | < 0.01 | < 0.05 | < 0.01 | < 0.005 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.05 | < 0.005 | < 0.01 | < 0.002
Method Blank | [11 empty] | Au: < 1; Ag: < 5; As: < 1; Br: < 0.5; Co: < 0.1; Cr: < 0.5; Hg: < 1; Ir: < 1; Sb: < 0.1; Sc: < 0.01; Se: < 0.5; W: < 1; Zn: < 50 | 1
Method Blank | [11 empty] | Ag: < 0.5; Cd: < 0.5; Cu: < 1; Ni: < 1; Pb: < 5; S: 0.002; Zn: < 1
Method Blank | [11 empty] | Ag: < 0.5; Cd: < 0.5; Cu: 6; Ni: < 1; Pb: < 5; S: 0.001; Zn: < 1
Method Blank | [11 empty] | Ag: < 0.5; Cd: < 0.5; Cu: < 1; Ni: < 1; Pb: < 5; S: 0.002; Zn: < 1
Method Blank | [11 empty] | Ag: < 0.5; Cd: < 0.5; Cu: < 1; Ni: < 1; Pb: < 5; S: 0.001; Zn: < 1
Method Blank | [11 empty] | Ag: < 0.5; Cd: < 0.5; Cu: < 1; Ni: < 1; Pb: < 5; S: < 0.001; Zn: < 1