## Citation
This supplementary material accompanies the article:
Scarrow, J. H., Pankhurst, M. J., Barbee, O. A., Chamberlain, K. J., Morgan, D. J., Longpré, M.-A., Tramontano, S., Hickey, J., Neave, D. A., Rollinson, G. K., Stewart, A. G., Wieser, P. E., Coldwell, B. C., Hernández, W., D’Auria, L. and Pérez, N. M. (2024) “Decoding links between magmatic processes and eruption dynamics: whole-rock time series petrology of the 2021 Tajogaite eruption, La Palma”, Volcanica, 7(2), pp. 953–980. doi: 10.30909/vol.07.02.953980.

## Methods
All measuerments were performed at the Scientific Instumentation Centre, Univeristy of Granada, Spain.
XRF
Major element determinations were measured by X-ray fluorescence, after fusion with lithium tetraborate. Typical precision was better than ±1.5% for an analyte concentration of 10 wt.%. Zirconium was determined by X-ray fluorescence on pressed pellets, with a precision better than ± 4% for 100 ppm Zr.
ICP-MS
Trace element determinations were done by ICP-mass spectrometry (ICP-MS) after HNO3+HF digestion of 0.1000 g of sample powder in a Teflon-lined vessel at ~180 °C and 200 psi for 30 min, evaporation to dryness, and subsequent dissolution in 100 ml of 4 vol.% HNO3. Instrument measurements were carried out in triplicate with a PE SCIEX ELAN- 5000 spectrometer using rhodium as an internal standard. Precision, as determined from standards WSE, BR and AGV run as unknowns, was better than ±2% and ±5% for analyte concentrations of 50 and 5 ppm, respectively.

## 1 Data Source
Data Source Information
Powered by EarthChem | Template developed by EarthChem: 10.26022/IEDA/112263
v3.1 last modified 03/23/2022
TITLE | Cumbre Vieja 2021 whole rock data
ABSTRACT | Whole rock XRF (majors & select trace element) snd ICPMS (trace element) analyses of lavas and tephras from samples erupted throughout the 3-month 2021 Cumbre Vieja eruption on La Palma, Canary Islands, Spain.
AUTHOR | Scarrow, Jane H.; Pankhurst, Matthew J.; Barbee, Olivia A.; Chamberlain, Katy;
Institution | Univsersidad de Granada; INVOLCAN, University of Liverpool
Release Date | 2023-01-09
Creator | Katy Chamberlain
CONTACT INFO | k.j.chamberlain@liverpool.ac.uk
Related Publication #1
Title | Rapid response petrology for the opening eruptive phase of the2021 Cumbre Vieja eruption, La Palma, Canary Islands
Authors | Matthew J. Pankhurst, Jane H. Scarrow, Olivia A. Barbee, James Hickey, Beverley C. Coldwell, Gavyn K. Rollinson, José A. Rodríguez-Losada,,Alba Martín-Lorenzo, Fátima Rodríguez, William Hernández, David Calvo Fernández, Pedro A. Hernández, Nemesio M. Pérez
Publication Year | 2022
Journal | Volcanica
Volume | 5
Issue | 1
Pages | 2022-01-10
DOI | https://doi.org/10.30909/vol.05.01.0110

## 2 Samples
Sample Information
IDENTIFICATION |  | LOCATION |  |  | DESCRIPTION
SAMPLE NAME | IGSN | LATITUDE | LONGITUDE | LOCATION KEYWORDS | LITHOLOGY | age | emplacement date | emplacement time | Temporal uncertainty (hours) | collector* | Days elapsed since eruption start
| unique ID assigned by SESAR | decimal degrees, negative to indicate S | decimal degrees, negative to indicate W |  |  |  | DD/MM/YYYY |  |  | * see identifiers at bottom of page
CAN-LLP-0001 |  | 28.6188 | -17.8848 | Tajogaite, Cumbre Vieja, La Palma | basalt/basanite/tephrite | 2021 CE | 20/09/2021 | 2:00 | 24 | BCC, MJP | 0.45
CAN-LLP-0002 |  | 28.6186 | -17.9036 | Tajogaite, Cumbre Vieja, La Palma | basalt/basanite/tephrite | 2021 CE | 21/09/2021 | 19:30 | 0.5 | PH, MJP, DCF | 2.18
CAN-LLP-0003 |  | 28.6186 | -17.9044 | Tajogaite, Cumbre Vieja, La Palma | basalt/basanite/tephrite | 2021 CE | 22/09/2021 | 19:00 | 0.5 | MJP | 3.16
CAN-LLP-0004 |  | 28.6187 | -17.9043 | Tajogaite, Cumbre Vieja, La Palma | basalt/basanite/tephrite | 2021 CE | 23/09/2021 | 20:20 | 0.5 | MJP | 4.21
CAN-LLP-0007 |  | 28.6205 | -17.9053 | Tajogaite, Cumbre Vieja, La Palma | basalt/basanite/tephrite | 2021 CE | 24/09/2021 | 12:00 | 12 | PH | 4.87
CAN-LLP-0005 |  | 28.619 | -17.885 | Tajogaite, Cumbre Vieja, La Palma | basalt/basanite/tephrite | 2021 CE | 24/09/2021 | 19:30 | 0.5 | MJP | 5.18
CAN-LLP-0011 |  | 28.6185 | -17.8843 | Tajogaite, Cumbre Vieja, La Palma | basalt/basanite/tephrite | 2021 CE | 26/09/2021 | 18:40 | 0.5 | MJP | 7.15
CAN-LLP-0013 |  | 28.6131 | -17.9226 | Tajogaite, Cumbre Vieja, La Palma | basalt/basanite/tephrite | 2021 CE | 28/09/2021 | 8:15 | 12 | PH, AA | 8.71
CAN-LLP-0014 |  | 28.6131 | -17.9226 | Tajogaite, Cumbre Vieja, La Palma | basalt/basanite/tephrite | 2021 CE | 29/09/2021 | 8:00 | 12 | PH, AA | 9.7
CAN-LLP-0065 |  | 28.6087 | -17.9232 | Tajogaite, Cumbre Vieja, La Palma | basalt/basanite/tephrite | 2021 CE | 2021-01-10 | 12:00 | 24 | MJP, OAB | 11.87
CAN-LLP-0015 |  | 28.619 | -17.8848 | Tajogaite, Cumbre Vieja, La Palma | basalt/basanite/tephrite | 2021 CE | 2021-01-10 | 15:30 | 0.5 | BCC, DCF | 12.01
CAN-LLP-0016 |  | 28.6208 | -17.8738 | Tajogaite, Cumbre Vieja, La Palma | basalt/basanite/tephrite | 2021 CE | 2021-02-10 | 20:00 | 0.5 | AML, BCC | 13.2
CAN-LLP-0017 |  | 28.6194 | -17.8847 | Tajogaite, Cumbre Vieja, La Palma | basalt/basanite/tephrite | 2021 CE | 2021-04-10 | 12:00 | 12 | AML, MJP | 14.87
CAN-LLP-0018 |  | 28.6194 | -17.8847 | Tajogaite, Cumbre Vieja, La Palma | basalt/basanite/tephrite | 2021 CE | 2021-04-10 | 12:00 | 12 | AML, MJP | 14.87
CAN-LLP-0019 | [6 empty] | 2021-07-10 | 0:00 | 12 | MJP, JR, ST, EL | 17.367
CAN-LLP-0024 |  | 28.624 | -17.8847 | Tajogaite, Cumbre Vieja, La Palma | basalt/basanite/tephrite | 2021 CE | 2021-09-10 | 8:15 | 24 | FR, MJP | 19.71
CAN-LLP-0025 |  | 28.642 | -17.896 | Tajogaite, Cumbre Vieja, La Palma | basalt/basanite/tephrite | 2021 CE | 2021-12-10 | 14:40 | 0.5 | MJP, VOR, ICP | 22.98
CAN-LLP-0027 |  | 28.627 | -17.909 | Tajogaite, Cumbre Vieja, La Palma | basalt/basanite/tephrite | 2021 CE | 14/10/2021 | 19:30 | 0.5 | GDPH, BCC | 25.18
CAN-LLP-0029 |  | 28.6216 | -17.8744 | Tajogaite, Cumbre Vieja, La Palma | basalt/basanite/tephrite | 2021 CE | 16/10/2021 | 19:30 | 0.5 | VOR, GDPH | 27.18
CAN-LLP-0033 |  | 28.6302 | -17.9073 | Tajogaite, Cumbre Vieja, La Palma | basalt/basanite/tephrite | 2021 CE | 19/10/2021 | 19:50 | 0.5 | AML, MAR, MJP | 30.19
CAN-LLP-0037 |  | 28.632 | -17.9082 | Tajogaite, Cumbre Vieja, La Palma | basalt/basanite/tephrite | 2021 CE | 21/10/2021 | 8:20 | 24 | AML | 31.71
CAN-LLP-0038 |  | 28.6221 | -17.8736 | Tajogaite, Cumbre Vieja, La Palma | basalt/basanite/tephrite | 2021 CE | 24/10/2021 | 12:00 | 12 | MJP, MAR | 34.87
CAN-LLP-0041 |  | 28.6264 | -17.8849 | Tajogaite, Cumbre Vieja, La Palma | basalt/basanite/tephrite | 2021 CE | 24/10/2021 | 12:00 | 12 | MJP | 34.87
CAN-LLP-0042 |  | 28.611 | -17.903 | Tajogaite, Cumbre Vieja, La Palma | basalt/basanite/tephrite | 2021 CE | 28/10/2021 | 17:00 | 0.5 | BCC, JB | 39.08
CAN-LLP-0046 |  | 28.611 | -17.907 | Tajogaite, Cumbre Vieja, La Palma | basalt/basanite/tephrite | 2021 CE | 29/10/2021 | 19:00 | 0.5 | BCC, GRS | 40.16
CAN-LLP-0047 |  | 28.609 | -17.907 | Tajogaite, Cumbre Vieja, La Palma | basalt/basanite/tephrite | 2021 CE | 30/10/2021 | 13:30 | 0.5 | BCC, MCV | 40.93
CAN-LLP-0048 |  | 28.601 | -17.919 | Tajogaite, Cumbre Vieja, La Palma | basalt/basanite/tephrite | 2021 CE | 31/10/2021 | 18:00 | 0.5 | BCC, MCV | 42.12
CAN-LLP-0049 |  | 28.6112 | -17.8994 | Tajogaite, Cumbre Vieja, La Palma | basalt/basanite/tephrite | 2021 CE | 2021-02-11 | 12:00 | 24 | PH | 43.87
CAN-LLP-0050 |  | 28.6117 | -17.8984 | Tajogaite, Cumbre Vieja, La Palma | basalt/basanite/tephrite | 2021 CE | 2021-03-11 | 15:10 | 0.25 | PH | 44.87
CAN-LLP-0054 |  | 28.6114 | -17.8993 | Tajogaite, Cumbre Vieja, La Palma | basalt/basanite/tephrite | 2021 CE | 2021-03-11 | 2:00 | 24 | AGS | 44.45
CAN-LLP-0057 |  | 28.6115 | -17.8989 | Tajogaite, Cumbre Vieja, La Palma | basalt/basanite/tephrite | 2021 CE | 2021-04-11 | 12:00 | 12 | MJP, AGS | 45.87
CAN-LLP-0068 |  | 28.6073 | -17.9228 | Tajogaite, Cumbre Vieja, La Palma | basalt/basanite/tephrite | 2021 CE | 2021-09-11 | 17:00 | 0.5 | MJP, OAB | 51.08
CAN-LLP-0069 |  | 28.6078 | -17.9229 | Tajogaite, Cumbre Vieja, La Palma | basalt/basanite/tephrite | 2021 CE | 2021-10-11 | 4:00 | 6 | MJP, OAB, AGS | 51.53
CAN-LLP-0070 |  | 28.6073 | 17.9228 | Tajogaite, Cumbre Vieja, La Palma | basalt/basanite/tephrite | 2021 CE | 2021-11-11 | 12:09 | 0.25 | MJP, OAB, AGS | 52.87
CAN-LLP-0075 |  | 28.601 | -17.921 | Tajogaite, Cumbre Vieja, La Palma | basalt/basanite/tephrite | 2021 CE | 15/11/2021 | 17:40 | 0.5 | PH, BCC, OAB | 57.1
CAN-LLP-0077 |  | 28.6324 | -17.9089 | Tajogaite, Cumbre Vieja, La Palma | basalt/basanite/tephrite | 2021 CE | 21/11/2021 | 12:00 | 12 | MJP, OAB | 62.87
CAN-LLP-0079 |  | 28.6293 | -17.9129 | Tajogaite, Cumbre Vieja, La Palma | basalt/basanite/tephrite | 2021 CE | 23/11/2021 | 13:00 | 0.5 | MJP, OAB, EB, RB, EC | 63.87
CAN-LLP-0082 |  | 28.609 | -17.883 | Tajogaite, Cumbre Vieja, La Palma | basalt/basanite/tephrite | 2021 CE | 25/11/2021 | 0:00 | 12 | MJP, OAB, EB, RB, EC | 66.37
CAN-LLP-0084 |  | 28.609 | -17.882 | Tajogaite, Cumbre Vieja, La Palma | basalt/basanite/tephrite | 2021 CE | 25/11/2021 | 17:45 | 0.25 | MJP, OAB, EB, RB, EC | 67.11
CAN-LLP-0085 |  | 28.6269 | -17.885 | Tajogaite, Cumbre Vieja, La Palma | basalt/basanite/tephrite | 2021 CE | 29/11/2021 | 2:00 | 6 | BCC, OAB | 70.45
CAN-LLP-0089 |  | 28.6227 | -17.8739 | Tajogaite, Cumbre Vieja, La Palma | basalt/basanite/tephrite | 2021 CE | 2021-02-12 | 12:15 | 0.25 | OAB, FR, TMP, PH | 73.88
CAN-LLP-0090 |  | 28.6227 | -17.8739 | Tajogaite, Cumbre Vieja, La Palma | basalt/basanite/tephrite | 2021 CE | 2021-03-12 | 18:30 | 0.25 | TMP, FR | 75.14
CAN-LLP-0091 |  | 28.6094 | -17.8972 | Tajogaite, Cumbre Vieja, La Palma | basalt/basanite/tephrite | 2021 CE | 2021-04-12 | 13:00 | 0.25 | TMP, FR | 75.91
CAN-LLP-0092 |  | 28.6055 | -17.9072 | Tajogaite, Cumbre Vieja, La Palma | basalt/basanite/tephrite | 2021 CE | 2021-05-12 | 1:00 | 12 | TMP, FR | 76.41
CAN-LLP-0093 |  | 28.609 | -17.8964 | Tajogaite, Cumbre Vieja, La Palma | basalt/basanite/tephrite | 2021 CE | 2021-05-12 | 2:00 | 12 | TMP, FR | 76.45
CAN-LLP-0094 | [6 empty] | 2021-01-12 | 0:00 | 24 | GDPH | 72.37
CAN-LLP-0096 |  | 28.5989 | -17.9176 | Tajogaite, Cumbre Vieja, La Palma | basalt/basanite/tephrite | 2021 CE | 2021-07-12 | 12:00 | 24 | MJP, OAB, JH, TMP, CL, UK | 83.86
CAN-TLP-0001 |  | 28.617 | -17.903 | Tajogaite, Cumbre Vieja, La Palma | basalt/basanite/tephrite | 2021 CE | 19/9/2021 |  |  |  | 0.09
CAN-TLP-0008 |  | 28.6245 | -17.8847 | Tajogaite, Cumbre Vieja, La Palma | basalt/basanite/tephrite | 2021 CE | 22/9/2021 |  |  |  | 2.78
CAN-TLP-0009 |  | 28.6238 | -17.8831 | Tajogaite, Cumbre Vieja, La Palma | basalt/basanite/tephrite | 2021 CE | 22/9/2021 |  |  |  | 3.09
CAN-TLP-0011 |  | 28.6612 | -17.9141 | Tajogaite, Cumbre Vieja, La Palma | basalt/basanite/tephrite | 2021 CE | 25/9/2021 |  |  |  | 5.67
CAN-TLP-0013 |  | 28.6065 | -17.8829 | Tajogaite, Cumbre Vieja, La Palma | basalt/basanite/tephrite | 2021 CE | 25/9/2021 |  |  |  | 6.08
CAN-TLP-0015 |  | 28.6014 | -17.8882 | Tajogaite, Cumbre Vieja, La Palma | basalt/basanite/tephrite | 2021 CE | 26/9/2021 |  |  |  | 6.91
CAN-TLP-0034 |  | 28.6065 | -17.8829 | Tajogaite, Cumbre Vieja, La Palma | basalt/basanite/tephrite | 2021 CE | 2021-03-10 |  |  |  | 14.17
CAN-TLP-0040 |  | 28.6065 | -17.8829 | Tajogaite, Cumbre Vieja, La Palma | basalt/basanite/tephrite | 2021 CE | 2021-05-10 |  |  |  | 15.89
CAN-TLP-0079 |  | 28.6065 | -17.8829 | Tajogaite, Cumbre Vieja, La Palma | basalt/basanite/tephrite | 2021 CE | 13/10/2021 |  |  |  | 23.8
CAN-TLP-0099 |  | 28.6065 | -17.8829 | Tajogaite, Cumbre Vieja, La Palma | basalt/basanite/tephrite | 2021 CE | 15/10/2021 |  |  |  | 25.86
CAN-TLP-0167 |  | 28.6065 | -17.8829 | Tajogaite, Cumbre Vieja, La Palma | basalt/basanite/tephrite | 2021 CE | 28/10/2021 |  |  |  | 38.96
CAN-TLP-0199 |  | 28.6065 | -17.8829 | Tajogaite, Cumbre Vieja, La Palma | basalt/basanite/tephrite | 2021 CE | 2021-04-11 |  |  |  | 45.94
CAN-TLP-0270 |  | 28.6065 | -17.8829 | Tajogaite, Cumbre Vieja, La Palma | basalt/basanite/tephrite | 2021 CE | 18/11/2021 |  |  |  | 60.05
CAN-TLP-0370 |  | 28.6065 | -17.8829 | Tajogaite, Cumbre Vieja, La Palma | basalt/basanite/tephrite | 2021 CE | 2021-02-12 |  |  |  | 74.11
CAN-TLP-0397 |  | 28.6065 | -17.8829 | Tajogaite, Cumbre Vieja, La Palma | basalt/basanite/tephrite | 2021 CE | 2021-06-12 |  |  |  | 77.9
CAN-TLP-0445 |  | 28.6126 | 17.8625 | Tajogaite, Cumbre Vieja, La Palma | basalt/basanite/tephrite | 2021 CE
CAN-BLP-0010 |  | cone area |  | Tajogaite, Cumbre Vieja, La Palma | basalt/basanite/tephrite | 2021 CE | 13/12/2021 | 12:00 | 12 | JH | 85.87
CAN-BLP-0016 |  | 28.6153 | -17.861 | Tajogaite, Cumbre Vieja, La Palma | basalt/basanite/tephrite | 2021 CE | 2021-12-12 | 12:00 | 12 | PH | 83.87
CAN-BLP-0017 |  | 28.6153 | -17.861 | Tajogaite, Cumbre Vieja, La Palma | basalt/basanite/tephrite | 2021 CE | 2021-12-12 | 12:00 | 12 | PH | 83.87
CAN-BLP-0023 |  | 28.6217 | -17.8999 | Tajogaite, Cumbre Vieja, La Palma | basalt/basanite/tephrite | 2021 CE | 26/09/2021 | 12:00 | 12 | EP | 6.87
Collectors and field assistance
AA - Antonio Álvarez
AGS - Alexander G. Stewart
AML - Alba Martín-Lorenzo
BCC - Beverley C. Coldwell
CL- Charline Lormand
DCF - David Calvo Fernández
EB - Eillish Brennan
EC - Ella Curtis
ED - Ed Llewellin
EP - Eleazar Padrón
FR - Fátima Rodríguez
GDPH - Germán D. Padilla Hernández
GCT - Germán Cervigón Tomico
GRS - Guillermo Recio Sotelo
ICP - Ivan Cabrera-Perez
JH - James Hickey
JB - José Barranco
JR - Jorge Romero
MAR - María Asensio Ramos
MCV - María Cordero Vaca
MJP - Matthew J. Pankhurst
OAB - Olivia A. Barbee
PH - Pedro Hernández
RB - Rachel Bilsland
RW - Rebecca Winstanley
ST - Samantha Tramontano
TMP - Teresa Martínez Pérez
UK - Ulrich Kueppers
VOR - Victor Ortega Ramos

## 3 Data
Analytical Data
[8 empty] | PARAMETER [list] | SiO2 | Al2O3 | Fe2O3 | MnO | MgO | CaO | Na2O | K2O | TiO2 | P2O5 | LOI | Total | Zr | Sr | Cr | Ba | Ni | Pb | Rb | V | Y | Zn | Li | Rb | Cs | Be | Sr | Ba | Sc | V | Cr | Co | Ni | Cu | Zn | Ga | Y | Nb | Ta | Zr | Hf | Mo | Sn | Tl | Pb | U | Th | La | Ce | Pr | Nd | Sm | Eu | Gd | Tb | Dy | Ho | Er | Tm | Yb | Lu
[8 empty] | METHOD CODE [more info]: | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
[8 empty] | UNIT [list]: | % | % | % | % | % | % | % | % | % | % | % | % | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm
SAMPLE NAME | IGSN | ANALYZED MATERIAL | Analysis Date (XRF) | Analysis date (ICPMS) | size fraction | sample preparation | chemical treatment | number of replicates
must match a sample on the SAMPLES tab column A | must match an IGSN on the SAMPLES tab column B | e.g. whole rock, volcanic glass, mineral, fossil | DD/MM/YY | DD/MM/YY | e.g. <2mm | e.g. crushed in agate mill, sieved at 500 microns |  | if average, leave blank if 1
CAN-LLP-0001 |  | whole rock lava | 2021-01-10 | 2021-02-10 |  | crushed in agate mill to fine powder | fused with lithium tetraborate (XRF major & trace), fused into glass bead (XRF Zr), or 0.100g of powder digested in concentrated HF and HNO3 at 180 degC and 200 psi for 30 minutes, evaporated to dryness and dissolved in 100ml of 4 vol.% HNO3 | (XRF = 1; ICPMS = 3) | 43.7 | 14.98 | 13.28 | 0.2 | 6.04 | 10.49 | 4.38 | 1.8 | 3.89 | 1.03 | 0 | 99.79 | 317.5 | [9 empty] | 10.147 | 36.713 | 0.386 | 2.595 | 1155.128 | 652.221 | 25.644 | 344.208 | 81.417 | 43.41 | 52.692 | 84.916 | 139.041 | 24.892 | 36.826 | 87.246 | 5.353 | 353.407 | 8.172 | 5.286 | 2.935 | 0.046 | 4.069 | 2.488 | 8.08 | 98.949 | 192.946 | 22.671 | 87.834 | 16.162 | 4.624 | 12.11 | 1.706 | 8.974 | 1.63 | 3.7 | 0.466 | 2.675 | 0.397
CAN-LLP-0001_dup |  | whole rock lava | 24/6/2022 |  |  | crushed in agate mill to fine powder | fused with lithium tetraborate (XRF major & trace), fused into glass bead (XRF Zr), or 0.100g of powder digested in concentrated HF and HNO3 at 180 degC and 200 psi for 30 minutes, evaporated to dryness and dissolved in 100ml of 4 vol.% HNO3 | (XRF = 1) | 43.27 | 14.85 | 12.99 | 0.2 | 6.07 | 10.34 | 4.24 | 1.79 | 3.93 | 1.06 | 0 | 98.74 | Zr: 306; Sr: 1146; Cr: 80; Ba: 580; Ni: 59; Pb: 13; Rb: 36; V: 308; Y: 40; Zn: 112
CAN-LLP-0002 |  | whole rock lava | 2021-01-10 | 2021-02-10 |  | crushed in agate mill to fine powder | fused with lithium tetraborate (XRF major & trace), fused into glass bead (XRF Zr), or 0.100g of powder digested in concentrated HF and HNO3 at 180 degC and 200 psi for 30 minutes, evaporated to dryness and dissolved in 100ml of 4 vol.% HNO3 | (XRF = 1; ICPMS = 3) | 43.77 | 14.92 | 13.08 | 0.2 | 5.94 | 10.44 | 4.39 | 1.79 | 3.91 | 1.02 | 0 | 99.46 | 315 | [9 empty] | 10.113 | 37.293 | 0.392 | 2.608 | 1176.266 | 645.848 | 24.343 | 335.761 | 79.375 | 41.886 | 50.959 | 84.643 | 138.659 | 24.741 | 36.01 | 87.113 | 5.255 | 350.464 | 8.154 | 4.371 | 3.257 | 0.034 | 3.961 | 2.488 | 8.144 | 98.161 | 189.883 | 22.083 | 86.757 | 15.863 | 4.544 | 11.864 | 1.663 | 8.704 | 1.577 | 3.611 | 0.465 | 2.637 | 0.393
CAN-LLP-0003 |  | whole rock lava | 2021-01-10 | 2021-02-10 |  | crushed in agate mill to fine powder | fused with lithium tetraborate (XRF major & trace), fused into glass bead (XRF Zr), or 0.100g of powder digested in concentrated HF and HNO3 at 180 degC and 200 psi for 30 minutes, evaporated to dryness and dissolved in 100ml of 4 vol.% HNO3 | (XRF = 1; ICPMS = 3) | 43.67 | 15.04 | 13.22 | 0.2 | 6.08 | 10.56 | 4.42 | 1.8 | 3.88 | 1.03 | 0 | 99.9 | 319.2 | [9 empty] | 9.997 | 37.498 | 0.395 | 2.571 | 1155.261 | 636.791 | 25.009 | 341.307 | 80.746 | 42.396 | 52.286 | 81.255 | 139.999 | 24.832 | 36.479 | 87.079 | 5.342 | 351.532 | 8.103 | 4.2 | 2.881 | 0.015 | 4.51 | 2.478 | 8.19 | 98.028 | 189.192 | 22.281 | 85.268 | 15.872 | 4.537 | 11.69 | 1.662 | 8.814 | 1.588 | 3.58 | 0.463 | 2.677 | 0.4
CAN-LLP-0004 |  | whole rock lava | 2021-01-10 | 2021-02-10 |  | crushed in agate mill to fine powder | fused with lithium tetraborate (XRF major & trace), fused into glass bead (XRF Zr), or 0.100g of powder digested in concentrated HF and HNO3 at 180 degC and 200 psi for 30 minutes, evaporated to dryness and dissolved in 100ml of 4 vol.% HNO3 | (XRF = 1; ICPMS = 3) | 43.36 | 14.51 | 13.15 | 0.19 | 6.43 | 10.73 | 4.21 | 1.73 | 3.94 | 1 | 0.03 | 99.28 | 306.7 | [9 empty] | 9.582 | 36.013 | 0.38 | 2.509 | 1114.688 | 624.206 | 27.584 | 347.931 | 111.494 | 44.435 | 61.014 | 82.908 | 138.797 | 24.55 | 36.22 | 83.974 | 5.139 | 340.542 | 7.968 | 4.042 | 2.888 | 0.006 | 4.512 | 2.344 | 7.627 | 93.311 | 182.707 | 21.39 | 83.901 | 15.705 | 4.531 | 11.742 | 1.642 | 8.649 | 1.567 | 3.532 | 0.451 | 2.653 | 0.393
CAN-LLP-0007 |  | whole rock lava | 2022-08-04 |  |  | crushed in agate mill to fine powder | fused with lithium tetraborate (XRF major & trace), fused into glass bead (XRF Zr), or 0.100g of powder digested in concentrated HF and HNO3 at 180 degC and 200 psi for 30 minutes, evaporated to dryness and dissolved in 100ml of 4 vol.% HNO3 | (XRF = 1) | 43.29 | 15 | 13.01 | 0.2 | 6.04 | 10.39 | 4.25 | 1.8 | 3.94 | 1.07 | 0 | 98.99 | Zr: 302.2; Sr: 1146; Cr: 58; Ba: 620; Ni: 40; Pb: 14; Rb: 36; V: 292; Y: 41; Zn: 111
CAN-LLP-0005 |  | whole rock lava | 2022-08-04 | 19/5/2022 |  | crushed in agate mill to fine powder | fused with lithium tetraborate (XRF major & trace), fused into glass bead (XRF Zr), or 0.100g of powder digested in concentrated HF and HNO3 at 180 degC and 200 psi for 30 minutes, evaporated to dryness and dissolved in 100ml of 4 vol.% HNO3 | (XRF = 1; ICPMS = 3) | 42.91 | 14.83 | 13.02 | 0.2 | 6 | 10.36 | 4.19 | 1.78 | 3.94 | 1.06 | 0 | 98.29 | 298.6 | 1136 | 67 | 568 | 38 | 11 | 35 | 303 | 41 | 111 | 8.568 | 41.387 | 0.577 | 2.551 | 1206.481 | 568.979 | 22.407 | 315.174 | 73.058 | 39.686 | 49.244 | 77.365 | 142.333 | 23.348 | 37.19 | 82.428 | 3.066 | 316.147 | 8.132 | 4.499 | 3.378 | 0.03 | 4.285 | 2.334 | 7.448 | 88.129 | 168.139 | 19.536 | 74.885 | 13.486 | 3.998 | 10.569 | 1.424 | 7.442 | 1.33 | 3.098 | 0.423 | 2.465 | 0.365
CAN-LLP-0011 |  | whole rock lava | 20/12/2021 | 14/12/2021 |  | crushed in agate mill to fine powder | fused with lithium tetraborate (XRF major & trace), fused into glass bead (XRF Zr), or 0.100g of powder digested in concentrated HF and HNO3 at 180 degC and 200 psi for 30 minutes, evaporated to dryness and dissolved in 100ml of 4 vol.% HNO3 | (XRF = 1; ICPMS = 3) | 43.8 | 14 | 12.82 | 0.19 | 7.35 | 10.93 | 4.05 | 1.64 | 3.81 | 0.81 | 0 | 99.4 | 285 | 1023 | 210 | 461 | 82 | 11 | 33 | 278 | 37 | 105 | 7.52 | 30.833 | 0.328 | 2.288 | 1008.153 | 533.249 | 25.164 | 323.08 | 201.907 | 43.209 | 86.278 | 87.009 | 125.02 | 21.964 | 30.504 | 75.329 | 4.958 | 312.68 | 6.904 | 4.589 | 3.061 | 0.048 | 3.479 | 2.022 | 6.449 | 74.16 | 146.818 | 16.863 | 64.822 | 11.959 | 3.595 | 9.22 | 1.273 | 6.498 | 1.165 | 2.693 | 0.371 | 2.064 | 0.304
CAN-LLP-0013 |  | whole rock lava | 2022-08-04 |  |  | crushed in agate mill to fine powder | fused with lithium tetraborate (XRF major & trace), fused into glass bead (XRF Zr), or 0.100g of powder digested in concentrated HF and HNO3 at 180 degC and 200 psi for 30 minutes, evaporated to dryness and dissolved in 100ml of 4 vol.% HNO3 | (XRF = 1) | 43.36 | 14.14 | 12.84 | 0.19 | 7.14 | 10.55 | 3.95 | 1.71 | 3.73 | 0.87 | 0 | 98.48 | Zr: 278.5; Sr: 1038; Cr: 201; Ba: 554; Ni: 78; Pb: 15; Rb: 36; V: 290; Y: 37; Zn: 108
CAN-LLP-0014 |  | whole rock lava | 20/12/2021 | 14/12/2021 |  | crushed in agate mill to fine powder | fused with lithium tetraborate (XRF major & trace), fused into glass bead (XRF Zr), or 0.100g of powder digested in concentrated HF and HNO3 at 180 degC and 200 psi for 30 minutes, evaporated to dryness and dissolved in 100ml of 4 vol.% HNO3 | (XRF = 1; ICPMS = 3) | 44.09 | 14.11 | 12.82 | 0.19 | 7.24 | 10.64 | 3.95 | 1.65 | 3.71 | 0.86 | 0 | 99.26 | 288.8 | 1029 | 212 | 428 | 82 | 7 | 33 | 274 | 39 | 108 | 7.575 | 31.53 | 0.347 | 2.34 | 1023.302 | 540.968 | 24.285 | 311.872 | 208.173 | 42.592 | 89.088 | 80.671 | 125.326 | 22.029 | 31.146 | 76.347 | 5.077 | 316.614 | 6.868 | 3.754 | 2.687 | 0.022 | 3.331 | 2.121 | 6.823 | 76.476 | 148.565 | 17.209 | 66.03 | 12.176 | 3.651 | 9.3 | 1.262 | 6.507 | 1.173 | 2.72 | 0.379 | 2.153 | 0.312
CAN-LLP-0065 |  | whole rock lava | 20/12/2021 | 14/12/2021 |  | crushed in agate mill to fine powder | fused with lithium tetraborate (XRF major & trace), fused into glass bead (XRF Zr), or 0.100g of powder digested in concentrated HF and HNO3 at 180 degC and 200 psi for 30 minutes, evaporated to dryness and dissolved in 100ml of 4 vol.% HNO3 | (XRF = 1; ICPMS = 3) | 43.45 | 13.94 | 12.84 | 0.19 | 7.58 | 10.6 | 3.96 | 1.7 | 3.64 | 0.84 | 0 | 98.74 | 278.2 | 1022 | 241 | 569 | 96 | 14 | 33 | 289 | 38 | 107 | 7.795 | 32.532 | 0.369 | 2.235 | 1019.218 | 549.591 | 24.924 | 318.553 | 236.489 | 44.287 | 98.643 | 91.615 | 128.591 | 21.978 | 31.309 | 75.245 | 4.847 | 308.386 | 6.695 | 4.494 | 2.197 | 0.045 | 3.7 | 2.057 | 6.703 | 77.453 | 150.472 | 17.407 | 67.004 | 12.191 | 3.673 | 9.344 | 1.276 | 6.517 | 1.182 | 2.719 | 0.377 | 2.102 | 0.308
CAN-LLP-0015 |  | whole rock lava | 2022-08-04 |  |  | crushed in agate mill to fine powder | fused with lithium tetraborate (XRF major & trace), fused into glass bead (XRF Zr), or 0.100g of powder digested in concentrated HF and HNO3 at 180 degC and 200 psi for 30 minutes, evaporated to dryness and dissolved in 100ml of 4 vol.% HNO3 | (XRF = 1) | 43.96 | 13.94 | 12.88 | 0.19 | 7.44 | 10.66 | 3.95 | 1.66 | 3.7 | 0.84 | 0 | 99.22 | Zr: 283.3; Sr: 1003; Cr: 224; Ba: 457; Ni: 91; Pb: 12; Rb: 36; V: 268; Y: 37; Zn: 106
CAN-LLP-0016 |  | whole rock lava | 20/12/2021 | 20/10/2022 |  | crushed in agate mill to fine powder | fused with lithium tetraborate (XRF major & trace), fused into glass bead (XRF Zr), or 0.100g of powder digested in concentrated HF and HNO3 at 180 degC and 200 psi for 30 minutes, evaporated to dryness and dissolved in 100ml of 4 vol.% HNO3 | (XRF = 1; ICPMS = 3) | 44.26 | 13.98 | 12.72 | 0.19 | 7.53 | 10.59 | 4.04 | 1.68 | 3.63 | 0.82 | 0 | 99.44 | 285.9 | 1009 | 243 | 511 | 93 | 21 | 37 | 262 | 37 | 108 | 8.224 | 36.467 | 0.456 | 2.326 | 1053.568 | 535.376 | 24.627 | 296.948 | 247.222 | 43.628 | 98.329 | 84.869 | 121.689 | 21.51 | 31.264 | 74.528 | 4.522 | 299.443 | 7.494 | 4.317 | 1.806 | 0.044 | 3.625 | 2.008 | 7.284 | 77.86 | 147.813 | 17.096 | 65.129 | 11.804 | 3.638 | 9.419 | 1.295 | 6.654 | 1.2 | 2.727 | 0.393 | 2.159 | 0.321
CAN-LLP-0017 |  | whole rock lava | 2022-08-04 |  |  | crushed in agate mill to fine powder | fused with lithium tetraborate (XRF major & trace), fused into glass bead (XRF Zr), or 0.100g of powder digested in concentrated HF and HNO3 at 180 degC and 200 psi for 30 minutes, evaporated to dryness and dissolved in 100ml of 4 vol.% HNO3 | (XRF = 1) | 43.75 | 14 | 12.93 | 0.19 | 7.59 | 10.63 | 3.89 | 1.69 | 3.67 | 0.82 | 0 | 99.16 | Zr: 278.7; Sr: 1006; Cr: 240; Ba: 531; Ni: 91; Pb: 10; Rb: 35; V: 290; Y: 38; Zn: 105
CAN-LLP-0018 |  | whole rock lava | 2022-08-04 |  |  | crushed in agate mill to fine powder | fused with lithium tetraborate (XRF major & trace), fused into glass bead (XRF Zr), or 0.100g of powder digested in concentrated HF and HNO3 at 180 degC and 200 psi for 30 minutes, evaporated to dryness and dissolved in 100ml of 4 vol.% HNO3 | (XRF = 1) | 43.68 | 13.93 | 12.81 | 0.19 | 7.65 | 10.56 | 3.82 | 1.67 | 3.59 | 0.81 | 0 | 98.71 | Zr: 275.9; Sr: 1006; Cr: 251; Ba: 543; Ni: 97; Pb: 10; Rb: 38; V: 300; Y: 37; Zn: 110
CAN-LLP-0019 |  | whole rock lava | 22/9/2022 | 20/10/2022 |  | crushed in agate mill to fine powder | fused with lithium tetraborate (XRF major & trace), fused into glass bead (XRF Zr), or 0.100g of powder digested in concentrated HF and HNO3 at 180 degC and 200 psi for 30 minutes, evaporated to dryness and dissolved in 100ml of 4 vol.% HNO3 | (XRF = 1; ICPMS = 3) | 43.41 | 13.65 | 12.83 | 0.19 | 7.72 | 10.76 | 3.81 | 1.62 | 3.58 | 0.8 | 0 | 98.37 | 267.4 | 977 | 268 | 516 | 97 | 12 | 35 | 299 | 37 | 103 | 7.986 | 35.709 | 0.433 | 2.348 | 1019.671 | 515.822 | 24.711 | 300.725 | 278.988 | 44.491 | 108.874 | 86.562 | 126.27 | 22.01 | 31.063 | 72.829 | 4.464 | 293.615 | 7.299 | 4.441 | 1.793 | 0.045 | 4.318 | 2.023 | 7.246 | 74.214 | 142.985 | 16.414 | 62.45 | 11.438 | 3.517 | 9.26 | 1.257 | 6.406 | 1.179 | 2.733 | 0.389 | 2.151 | 0.315
CAN-LLP-0024 |  | whole rock lava | 2022-08-04 |  |  | crushed in agate mill to fine powder | fused with lithium tetraborate (XRF major & trace), fused into glass bead (XRF Zr), or 0.100g of powder digested in concentrated HF and HNO3 at 180 degC and 200 psi for 30 minutes, evaporated to dryness and dissolved in 100ml of 4 vol.% HNO3 | (XRF = 1) | 43.08 | 13.37 | 13.1 | 0.19 | 8.16 | 10.87 | 3.6 | 1.53 | 3.63 | 0.77 | 0 | 98.3 | Zr: 254.3; Sr: 938; Cr: 289; Ba: 471; Ni: 110; Pb: 11; Rb: 33; V: 301; Y: 35; Zn: 103
CAN-LLP-0025 |  | whole rock lava | 20/12/2021 | 14/12/2021 |  | crushed in agate mill to fine powder | fused with lithium tetraborate (XRF major & trace), fused into glass bead (XRF Zr), or 0.100g of powder digested in concentrated HF and HNO3 at 180 degC and 200 psi for 30 minutes, evaporated to dryness and dissolved in 100ml of 4 vol.% HNO3 | (XRF = 1; ICPMS = 3) | 43.96 | 13.64 | 13.12 | 0.19 | 8.17 | 11.06 | 3.76 | 1.53 | 3.55 | 0.75 | 0 | 99.73 | 267.4 | 955 | 316 | 399 | 121 | 10 | 35 | 285 | 36 | 106 | 6.856 | 27.671 | 0.309 | 2.14 | 942.369 | 498.063 | 24.558 | 315.12 | 303.96 | 46.495 | 120.018 | 94.321 | 123.694 | 21.353 | 29.017 | 69.575 | 4.627 | 284.547 | 6.354 | 3.568 | 2.265 | 0.019 | 2.951 | 1.931 | 6.022 | 68.422 | 133.956 | 15.427 | 59.826 | 11.113 | 3.372 | 8.66 | 1.185 | 6.11 | 1.108 | 2.537 | 0.355 | 1.97 | 0.282
CAN-LLP-0027 |  | whole rock lava | 2022-08-04 | 20/10/2022 |  | crushed in agate mill to fine powder | fused with lithium tetraborate (XRF major & trace), fused into glass bead (XRF Zr), or 0.100g of powder digested in concentrated HF and HNO3 at 180 degC and 200 psi for 30 minutes, evaporated to dryness and dissolved in 100ml of 4 vol.% HNO3 | (XRF = 1; ICPMS = 3) | 43.61 | 13.5 | 12.78 | 0.19 | 8.06 | 10.95 | 3.64 | 1.54 | 3.56 | 0.76 | 0 | 98.59 | 257.3 | 942 | 306 | 510 | 105 | 12 | 32 | 288 | 36 | 101 | 7.564 | 34.864 | 0.425 | 2.276 | 994.81 | 502.18 | 26.937 | 320.715 | 325.607 | 47.436 | 117.12 | 88.96 | 123.807 | 22.175 | 30.585 | 69.987 | 5.745 | 284.26 | 7.044 | 4.07 | 1.974 | 0.027 | 3.311 | 1.879 | 6.895 | 71.319 | 135.899 | 15.701 | 60.461 | 11.11 | 3.452 | 9.094 | 1.24 | 6.291 | 1.151 | 2.645 | 0.369 | 2.061 | 0.308
CAN-LLP-0029 |  | whole rock lava | 2022-08-04 |  |  | crushed in agate mill to fine powder | fused with lithium tetraborate (XRF major & trace), fused into glass bead (XRF Zr), or 0.100g of powder digested in concentrated HF and HNO3 at 180 degC and 200 psi for 30 minutes, evaporated to dryness and dissolved in 100ml of 4 vol.% HNO3 | (XRF = 1) | 43.56 | 13.5 | 12.69 | 0.19 | 8.01 | 10.82 | 3.66 | 1.54 | 3.52 | 0.74 | 0 | 98.23 | Zr: 252.6; Sr: 927; Cr: 304; Ba: 509; Ni: 109; Pb: 9; Rb: 33; V: 294; Y: 37; Zn: 102
CAN-LLP-0033 |  | whole rock lava | 20/12/2021 | 14/12/2021 |  | crushed in agate mill to fine powder | fused with lithium tetraborate (XRF major & trace), fused into glass bead (XRF Zr), or 0.100g of powder digested in concentrated HF and HNO3 at 180 degC and 200 psi for 30 minutes, evaporated to dryness and dissolved in 100ml of 4 vol.% HNO3 | (XRF = 1; ICPMS = 3) | 44.04 | 13.62 | 12.86 | 0.19 | 7.99 | 10.99 | 3.77 | 1.52 | 3.55 | 0.73 | 0 | 99.26 | 263.5 | 924 | 314 | 399 | 107 | 13 | 34 | 271 | 36 | 102 | 7.477 | 31.086 | 0.353 | 2.13 | 960.367 | 503.126 | 26.151 | 315.578 | 316.531 | 46.388 | 117.806 | 96.112 | 125.889 | 21.926 | 29.546 | 68.068 | 4.429 | 281.544 | 6.239 | 3.741 | 2.485 | 0.043 | 3.529 | 1.912 | 6.181 | 68.261 | 132.247 | 15.24 | 58.571 | 10.968 | 3.371 | 8.523 | 1.184 | 6.03 | 1.096 | 2.547 | 0.354 | 1.973 | 0.291
CAN-LLP-0037 |  | whole rock lava | 2022-08-04 |  |  | crushed in agate mill to fine powder | fused with lithium tetraborate (XRF major & trace), fused into glass bead (XRF Zr), or 0.100g of powder digested in concentrated HF and HNO3 at 180 degC and 200 psi for 30 minutes, evaporated to dryness and dissolved in 100ml of 4 vol.% HNO3 | (XRF = 1) | 43.87 | 13.54 | 12.79 | 0.19 | 8.25 | 11.02 | 3.65 | 1.51 | 3.55 | 0.74 | 0 | 99.11 | Zr: 250.1; Sr: 920; Cr: 319; Ba: 507; Ni: 116; Pb: 13; Rb: 32; V: 293; Y: 37; Zn: 101
CAN-LLP-0038 |  | whole rock lava | 2022-08-04 |  |  | crushed in agate mill to fine powder | fused with lithium tetraborate (XRF major & trace), fused into glass bead (XRF Zr), or 0.100g of powder digested in concentrated HF and HNO3 at 180 degC and 200 psi for 30 minutes, evaporated to dryness and dissolved in 100ml of 4 vol.% HNO3 | (XRF = 1) | 43.6 | 13.5 | 12.78 | 0.19 | 8.21 | 10.86 | 3.62 | 1.52 | 3.54 | 0.74 | 0 | 98.56 | Zr: 250.7; Sr: 921; Cr: 316; Ba: 492; Ni: 124; Pb: 13; Rb: 32; V: 281; Y: 36; Zn: 100
CAN-LLP-0041 |  | whole rock lava | 20/12/2021 | 14/12/2021 |  | crushed in agate mill to fine powder | fused with lithium tetraborate (XRF major & trace), fused into glass bead (XRF Zr), or 0.100g of powder digested in concentrated HF and HNO3 at 180 degC and 200 psi for 30 minutes, evaporated to dryness and dissolved in 100ml of 4 vol.% HNO3 | (XRF = 1; ICPMS = 3) | 44.01 | 13.51 | 12.82 | 0.19 | 8.14 | 11.01 | 3.7 | 1.49 | 3.55 | 0.74 | 0 | 99.16 | 256.7 | 920 | 300 | 421 | 112 | 6 | 30 | 269 | 35 | 97 | 7.145 | 31.239 | 0.359 | 2.079 | 960.117 | 498.25 | 27.408 | 317.357 | 306.927 | 46.958 | 122.157 | 96.932 | 122.098 | 21.76 | 30.117 | 67.414 | 4.462 | 277.952 | 6.202 | 3.738 | 2.312 | 0.043 | 3.365 | 1.879 | 6.169 | 68.635 | 132.334 | 15.436 | 59.445 | 11.203 | 3.421 | 8.755 | 1.209 | 6.152 | 1.125 | 2.585 | 0.359 | 2.029 | 0.294
CAN-LLP-0042 |  | whole rock lava | 2022-08-04 | 19/5/2022 |  | crushed in agate mill to fine powder | fused with lithium tetraborate (XRF major & trace), fused into glass bead (XRF Zr), or 0.100g of powder digested in concentrated HF and HNO3 at 180 degC and 200 psi for 30 minutes, evaporated to dryness and dissolved in 100ml of 4 vol.% HNO3 | (XRF = 1; ICPMS = 3) | 42.56 | 13.13 | 12.87 | 0.19 | 8.13 | 11.11 | 3.5 | 1.46 | 3.56 | 0.74 | 0 | 97.25 | 242.7 | 912 | 305 | 449 | 116 | 13 | 31 | 284 | 37 | 99 | 6.578 | 32.751 | 0.366 | 1.986 | 974.146 | 468.598 | 26.096 | 322.945 | 308.25 | 48.721 | 125.881 | 92.122 | 126.021 | 21.691 | 30.755 | 67.545 | 2.73 | 270.845 | 6.684 | 4.063 | 2.909 | 0.043 | 4.465 | 1.897 | 5.786 | 69.161 | 132.55 | 15.276 | 59.163 | 11.072 | 3.367 | 8.896 | 1.22 | 6.299 | 1.135 | 2.648 | 0.375 | 2.102 | 0.301
CAN-LLP-0046 |  | whole rock lava | 20/12/2021 | 14/12/2021 |  | crushed in agate mill to fine powder | fused with lithium tetraborate (XRF major & trace), fused into glass bead (XRF Zr), or 0.100g of powder digested in concentrated HF and HNO3 at 180 degC and 200 psi for 30 minutes, evaporated to dryness and dissolved in 100ml of 4 vol.% HNO3 | (XRF = 1; ICPMS = 3) | 44.1 | 13.41 | 12.86 | 0.18 | 8.05 | 11.04 | 3.68 | 1.48 | 3.56 | 0.75 | 0 | 99.11 | 255.7 | 924 | 369 | 399 | 131 | 12 | 33 | 266 | 36 | 104 | 7.115 | 29.655 | 0.338 | 1.996 | 949.262 | 492.981 | 26.388 | 314.013 | 289.546 | 46.5 | 119.679 | 100.229 | 122.903 | 21.637 | 29.514 | 65.776 | 4.326 | 272.202 | 6.1 | 3.342 | 2.013 | 0.015 | 3.312 | 1.84 | 5.978 | 67.948 | 131.767 | 15.336 | 59.647 | 11.209 | 3.415 | 8.569 | 1.192 | 6.138 | 1.103 | 2.505 | 0.355 | 1.986 | 0.288
CAN-LLP-0047 |  | whole rock lava | 2022-08-04 |  |  | crushed in agate mill to fine powder | fused with lithium tetraborate (XRF major & trace), fused into glass bead (XRF Zr), or 0.100g of powder digested in concentrated HF and HNO3 at 180 degC and 200 psi for 30 minutes, evaporated to dryness and dissolved in 100ml of 4 vol.% HNO3 | (XRF = 1) | 43.9 | 13.58 | 13.11 | 0.19 | 8.27 | 11.36 | 3.58 | 1.47 | 3.6 | 0.77 | 0 | 99.83 | Zr: 247.9; Sr: 939; Cr: 322; Ba: 475; Ni: 130; Pb: 10; Rb: 31; V: 311; Y: 38; Zn: 102
CAN-LLP-0048 |  | whole rock lava | 20/12/2021 | 14/12/2021 |  | crushed in agate mill to fine powder | fused with lithium tetraborate (XRF major & trace), fused into glass bead (XRF Zr), or 0.100g of powder digested in concentrated HF and HNO3 at 180 degC and 200 psi for 30 minutes, evaporated to dryness and dissolved in 100ml of 4 vol.% HNO3 | (XRF = 1; ICPMS = 3) | 44.09 | 13.56 | 12.95 | 0.18 | 7.99 | 11.17 | 3.66 | 1.47 | 3.62 | 0.77 | 0 | 99.46 | 254.6 | 924 | 293 | 401 | 112 | 16 | 30 | 275 | 37 | 102 | 7.003 | 28.454 | 0.323 | 2.049 | 942.497 | 491.71 | 26.316 | 316.865 | 285.204 | 45.767 | 114.937 | 98.817 | 125.196 | 21.575 | 29.611 | 66.261 | 4.358 | 270.64 | 6.016 | 3.554 | 2.307 | 0.029 | 3.019 | 1.785 | 5.886 | 68.174 | 132.709 | 15.391 | 60.002 | 11.263 | 3.415 | 8.737 | 1.213 | 6.146 | 1.109 | 2.559 | 0.354 | 1.981 | 0.288
CAN-LLP-0049 |  | whole rock lava | 2022-08-04 | 20/10/2022 |  | crushed in agate mill to fine powder | fused with lithium tetraborate (XRF major & trace), fused into glass bead (XRF Zr), or 0.100g of powder digested in concentrated HF and HNO3 at 180 degC and 200 psi for 30 minutes, evaporated to dryness and dissolved in 100ml of 4 vol.% HNO3 | (XRF = 1; ICPMS = 3) | 43.36 | 13.4 | 12.93 | 0.19 | 8.12 | 11.24 | 3.48 | 1.45 | 3.63 | 0.76 | 0 | 98.56 | 242 | 918 | 319 | 486 | 118 | 12 | 31 | 299 | 35 | 103 | 7.015 | 30.795 | 0.379 | 2.145 | 969.201 | 472.375 | 27.011 | 305.089 | 297.912 | 45.74 | 115.891 | 91.508 | 115.497 | 21.359 | 30.015 | 64.289 | 4.051 | 265.171 | 6.527 | 3.793 | 1.61 | 0.028 | 2.882 | 1.724 | 6.324 | 68.37 | 131.428 | 15.246 | 58.817 | 11.018 | 3.446 | 8.877 | 1.206 | 6.26 | 1.147 | 2.64 | 0.367 | 2.003 | 0.302
CAN-LLP-0050 |  | whole rock lava | 2022-08-04 |  |  | crushed in agate mill to fine powder | fused with lithium tetraborate (XRF major & trace), fused into glass bead (XRF Zr), or 0.100g of powder digested in concentrated HF and HNO3 at 180 degC and 200 psi for 30 minutes, evaporated to dryness and dissolved in 100ml of 4 vol.% HNO3 | (XRF = 1) | 43.67 | 13.44 | 12.99 | 0.19 | 8.31 | 11.22 | 3.54 | 1.45 | 3.63 | 0.77 | 0 | 99.21 | Zr: 242.7; Sr: 919; Cr: 307; Ba: 516; Ni: 113; Pb: 11; Rb: 31; V: 295; Y: 35; Zn: 97
CAN-LLP-0054 |  | whole rock lava | 20/12/2021 | 14/12/2021 |  | crushed in agate mill to fine powder | fused with lithium tetraborate (XRF major & trace), fused into glass bead (XRF Zr), or 0.100g of powder digested in concentrated HF and HNO3 at 180 degC and 200 psi for 30 minutes, evaporated to dryness and dissolved in 100ml of 4 vol.% HNO3 | (XRF = 1; ICPMS = 3) | 43.97 | 13.48 | 12.98 | 0.18 | 7.97 | 11.13 | 3.66 | 1.46 | 3.63 | 0.77 | 0 | 99.23 | 253.2 | 927 | 309 | 379 | 106 | 14 | 32 | 276 | 36 | 107 | 6.963 | 29.976 | 0.351 | 1.982 | 951.036 | 492.698 | 27.471 | 320.136 | 291.115 | 46.382 | 116.928 | 99.176 | 127.551 | 21.582 | 29.815 | 66.974 | 4.398 | 272.634 | 6.084 | 4.49 | 2.034 | 0.036 | 3.181 | 1.788 | 5.94 | 68.88 | 133.916 | 15.595 | 60.582 | 11.395 | 3.464 | 8.795 | 1.216 | 6.162 | 1.121 | 2.573 | 0.36 | 2.004 | 0.286
CAN-LLP-0057 |  | whole rock lava | 2022-08-04 |  |  | crushed in agate mill to fine powder | fused with lithium tetraborate (XRF major & trace), fused into glass bead (XRF Zr), or 0.100g of powder digested in concentrated HF and HNO3 at 180 degC and 200 psi for 30 minutes, evaporated to dryness and dissolved in 100ml of 4 vol.% HNO3 | (XRF = 1) | 43.87 | 13.59 | 13.05 | 0.19 | 8.23 | 11.31 | 3.59 | 1.46 | 3.64 | 0.78 | 0 | 99.71 | Zr: 244.7; Sr: 930; Cr: 296; Ba: 489; Ni: 112; Pb: 14; Rb: 30; V: 305; Y: 36; Zn: 102
CAN-LLP-0068 |  | whole rock lava | 2022-08-04 | 19/5/2022 |  | crushed in agate mill to fine powder | fused with lithium tetraborate (XRF major & trace), fused into glass bead (XRF Zr), or 0.100g of powder digested in concentrated HF and HNO3 at 180 degC and 200 psi for 30 minutes, evaporated to dryness and dissolved in 100ml of 4 vol.% HNO3 | (XRF = 1; ICPMS = 3) | 43.68 | 13.46 | 12.97 | 0.19 | 8.11 | 11.48 | 3.54 | 1.44 | 3.64 | 0.77 | 0 | 99.28 | 240.3 | 922 | 304 | 478 | 107 | 15 | 30 | 305 | 35 | 105 | 6.837 | 32.711 | 0.374 | 2.025 | 992.344 | 466.209 | 27.799 | 324.725 | 310.727 | 47.324 | 117.631 | 92.95 | 131.606 | 21.868 | 31.463 | 66.039 | 2.603 | 265.375 | 6.538 | 3.866 | 2.756 | 0.038 | 4.49 | 1.838 | 5.817 | 69.793 | 132.918 | 15.459 | 59.851 | 11.229 | 3.394 | 8.958 | 1.24 | 6.37 | 1.141 | 2.67 | 0.377 | 2.08 | 0.305
CAN-LLP-0069 |  | whole rock lava | 2022-08-04 |  |  | crushed in agate mill to fine powder | fused with lithium tetraborate (XRF major & trace), fused into glass bead (XRF Zr), or 0.100g of powder digested in concentrated HF and HNO3 at 180 degC and 200 psi for 30 minutes, evaporated to dryness and dissolved in 100ml of 4 vol.% HNO3 | (XRF = 1) | 43.69 | 13.48 | 13.09 | 0.19 | 8.08 | 11.47 | 3.51 | 1.45 | 3.61 | 0.77 | 0 | 99.34 | Zr: 242.2; Sr: 933; Cr: 302; Ba: 495; Ni: 108; Pb: 16; Rb: 33; V: 315; Y: 36; Zn: 101
CAN-LLP-0070 |  | whole rock lava | 20/12/2021 | 14/12/2021 |  | crushed in agate mill to fine powder | fused with lithium tetraborate (XRF major & trace), fused into glass bead (XRF Zr), or 0.100g of powder digested in concentrated HF and HNO3 at 180 degC and 200 psi for 30 minutes, evaporated to dryness and dissolved in 100ml of 4 vol.% HNO3 | (XRF = 1; ICPMS = 3) | 43.99 | 13.43 | 12.98 | 0.18 | 8.05 | 11.38 | 3.63 | 1.43 | 3.64 | 0.77 | 0 | 99.48 | 250.4 | 924 | 292 | 405 | 107 | 12 | 31 | 275 | 36 | 102 | 6.971 | 27.928 | 0.327 | 1.974 | 954.552 | 499.258 | 27.14 | 328.975 | 299.252 | 47.277 | 121.05 | 106.317 | 129.101 | 21.704 | 29.735 | 66.521 | 4.392 | 271.282 | 6.082 | 3.656 | 2.24 | 0.036 | 3.379 | 1.801 | 5.876 | 69.378 | 135.988 | 15.825 | 61.441 | 11.531 | 3.486 | 8.922 | 1.231 | 6.197 | 1.121 | 2.571 | 0.361 | 1.981 | 0.283
CAN-LLP-0075 |  | whole rock lava | 2022-08-04 | 19/5/2022 |  | crushed in agate mill to fine powder | fused with lithium tetraborate (XRF major & trace), fused into glass bead (XRF Zr), or 0.100g of powder digested in concentrated HF and HNO3 at 180 degC and 200 psi for 30 minutes, evaporated to dryness and dissolved in 100ml of 4 vol.% HNO3 | (XRF = 1; ICPMS = 3) | 43.34 | 13.27 | 13.09 | 0.19 | 8.48 | 11.5 | 3.39 | 1.38 | 3.67 | 0.77 | 0 | 99.08 | 234.5 | 905 | 318 | 466 | 124 | 13 | 29 | 309 | 36 | 101 | 6.093 | 30.122 | 0.457 | 1.816 | 944.889 | 436.766 | 26.845 | 325.996 | 312.802 | 48.973 | 129.22 | 94.904 | 122 | 21.018 | 29.482 | 63.843 | 2.501 | 254.302 | 6.114 | 3.581 | 3.077 | 0.025 | 3.706 | 1.757 | 5.291 | 66.061 | 126.725 | 14.706 | 57.548 | 10.761 | 3.224 | 8.556 | 1.172 | 6.039 | 1.088 | 2.519 | 0.354 | 1.946 | 0.282
CAN-LLP-0077 |  | whole rock lava | 2022-08-04 | 19/5/2022 |  | crushed in agate mill to fine powder | fused with lithium tetraborate (XRF major & trace), fused into glass bead (XRF Zr), or 0.100g of powder digested in concentrated HF and HNO3 at 180 degC and 200 psi for 30 minutes, evaporated to dryness and dissolved in 100ml of 4 vol.% HNO3 | (XRF = 1; ICPMS = 3) | 43.11 | 13.16 | 13.04 | 0.18 | 8.43 | 11.43 | 3.42 | 1.4 | 3.64 | 0.77 | 0 | 98.58 | 233.3 | 910 | 320 | 455 | 119 | 14 | 30 | 305 | 35 | 98 | 6.428 | 31.01 | 0.357 | 1.925 | 990.034 | 456.289 | 29.263 | 332.084 | 329.894 | 49.381 | 131.323 | 96.905 | 123.8 | 21.495 | 31.001 | 65.552 | 2.685 | 261.244 | 6.397 | 3.755 | 2.802 | 0.036 | 3.863 | 1.841 | 5.745 | 69.675 | 133.676 | 15.578 | 60.161 | 11.263 | 3.416 | 9.034 | 1.225 | 6.318 | 1.142 | 2.618 | 0.371 | 2.037 | 0.294
CAN-LLP-0079 |  | whole rock lava | 2022-08-04 |  |  | crushed in agate mill to fine powder | fused with lithium tetraborate (XRF major & trace), fused into glass bead (XRF Zr), or 0.100g of powder digested in concentrated HF and HNO3 at 180 degC and 200 psi for 30 minutes, evaporated to dryness and dissolved in 100ml of 4 vol.% HNO3 | (XRF = 1) | 43.25 | 13.23 | 13.06 | 0.18 | 8.42 | 11.5 | 3.41 | 1.4 | 3.66 | 0.78 | 0 | 98.89 | Zr: 235.8; Sr: 920; Cr: 309; Ba: 467; Ni: 119; Pb: 13; Rb: 28; V: 305; Y: 35; Zn: 103
CAN-LLP-0082 |  | whole rock lava | 2022-08-04 |  |  | crushed in agate mill to fine powder | fused with lithium tetraborate (XRF major & trace), fused into glass bead (XRF Zr), or 0.100g of powder digested in concentrated HF and HNO3 at 180 degC and 200 psi for 30 minutes, evaporated to dryness and dissolved in 100ml of 4 vol.% HNO3 | (XRF = 1) | 43.13 | 13.18 | 13.09 | 0.18 | 8.39 | 11.58 | 3.38 | 1.39 | 3.66 | 0.79 | 0 | 98.77 | Zr: 233.4; Sr: 926; Cr: 311; Ba: 479; Ni: 115; Pb: 15; Rb: 29; V: 310; Y: 37; Zn: 106
CAN-LLP-0084 |  | whole rock lava | 2022-08-04 | 19/5/2022 |  | crushed in agate mill to fine powder | fused with lithium tetraborate (XRF major & trace), fused into glass bead (XRF Zr), or 0.100g of powder digested in concentrated HF and HNO3 at 180 degC and 200 psi for 30 minutes, evaporated to dryness and dissolved in 100ml of 4 vol.% HNO3 | (XRF = 1; ICPMS = 3) | 43.26 | 13.18 | 13.04 | 0.18 | 8.49 | 11.73 | 3.4 | 1.38 | 3.67 | 0.78 | 0 | 99.11 | 234.4 | 923 | 317 | 505 | 115 | 11 | 28 | 314 | 35 | 99 | 6.348 | 31.616 | 0.363 | 1.974 | 1017.497 | 462.114 | 30.073 | 339.517 | 330.113 | 49.908 | 129.594 | 98.444 | 129.207 | 21.951 | 31.862 | 197.025 | 2.568 | 264.438 | 6.462 | 5.146 | 2.978 | 0.043 | 3.503 | 1.862 | 6.063 | 71.824 | 136.774 | 15.937 | 61.87 | 11.689 | 3.503 | 9.33 | 1.266 | 6.54 | 1.178 | 2.699 | 0.377 | 2.09 | 0.296
CAN-LLP-0085 |  | whole rock lava | 2022-08-04 |  |  | crushed in agate mill to fine powder | fused with lithium tetraborate (XRF major & trace), fused into glass bead (XRF Zr), or 0.100g of powder digested in concentrated HF and HNO3 at 180 degC and 200 psi for 30 minutes, evaporated to dryness and dissolved in 100ml of 4 vol.% HNO3 | (XRF = 1) | 42.86 | 13.18 | 12.9 | 0.18 | 8.16 | 11.61 | 3.42 | 1.4 | 3.65 | 0.79 | 0 | 98.15 | Zr: 236.4; Sr: 937; Cr: 295; Ba: 449; Ni: 105; Pb: 12; Rb: 28; V: 299; Y: 36; Zn: 102
CAN-LLP-0089 |  | whole rock lava | 2022-08-04 | 20/10/2022 |  | crushed in agate mill to fine powder | fused with lithium tetraborate (XRF major & trace), fused into glass bead (XRF Zr), or 0.100g of powder digested in concentrated HF and HNO3 at 180 degC and 200 psi for 30 minutes, evaporated to dryness and dissolved in 100ml of 4 vol.% HNO3 | (XRF = 1; ICPMS = 3) | 43.11 | 13.32 | 12.91 | 0.18 | 8.06 | 11.63 | 3.44 | 1.4 | 3.66 | 0.8 | 0 | 98.51 | 242.6 | 950 | 325 | 497 | 121 | 8 | 27 | 305 | 39 | 99 | 7.019 | 29.326 | 0.366 | 2.114 | 981.248 | 472.39 | 29.421 | 318.322 | 297.814 | 45.536 | 113.309 | 93.656 | 114.856 | 20.85 | 30.245 | 65.884 | 4.075 | 264.797 | 6.487 | 3.878 | 1.673 | 0.014 | 2.802 | 1.752 | 6.562 | 71.347 | 136.659 | 15.842 | 61.39 | 11.343 | 3.52 | 9.065 | 1.246 | 6.427 | 1.156 | 2.623 | 0.369 | 2.007 | 0.303
CAN-LLP-0090 |  | whole rock lava | 2022-08-04 | 19/5/2022 |  | crushed in agate mill to fine powder | fused with lithium tetraborate (XRF major & trace), fused into glass bead (XRF Zr), or 0.100g of powder digested in concentrated HF and HNO3 at 180 degC and 200 psi for 30 minutes, evaporated to dryness and dissolved in 100ml of 4 vol.% HNO3 | (XRF = 1; ICPMS = 3) | 43.15 | 13.33 | 12.89 | 0.18 | 8.02 | 11.61 | 3.55 | 1.47 | 3.63 | 0.8 | 0 | 98.63 | 241.7 | 958 | 299 | 488 | 115 | 12 | 31 | 311 | 36 | 101 | 6.724 | 33.128 | 0.374 | 1.95 | 1033.551 | 471.931 | 28.895 | 335.919 | 278.278 | 48.052 | 119.751 | 82.508 | 125.496 | 21.94 | 31.812 | 67.954 | 2.577 | 266.984 | 6.528 | 3.97 | 2.771 | 0.005 | 4.075 | 1.939 | 5.999 | 73.362 | 140.181 | 16.208 | 62.699 | 11.64 | 3.47 | 9.247 | 1.26 | 6.463 | 1.166 | 2.726 | 0.377 | 2.103 | 0.301
CAN-LLP-0091 |  | whole rock lava | 2022-08-04 |  |  | crushed in agate mill to fine powder | fused with lithium tetraborate (XRF major & trace), fused into glass bead (XRF Zr), or 0.100g of powder digested in concentrated HF and HNO3 at 180 degC and 200 psi for 30 minutes, evaporated to dryness and dissolved in 100ml of 4 vol.% HNO3 | (XRF = 1) | 43.49 | 13.51 | 12.88 | 0.18 | 7.94 | 11.62 | 3.55 | 1.47 | 3.66 | 0.81 | 0 | 99.11 | Zr: 247.7; Sr: 972; Cr: 267; Ba: 515; Ni: 105; Pb: 9; Rb: 31; V: 303; Y: 37; Zn: 100
CAN-LLP-0092 |  | whole rock lava | 2022-08-04 |  |  | crushed in agate mill to fine powder | fused with lithium tetraborate (XRF major & trace), fused into glass bead (XRF Zr), or 0.100g of powder digested in concentrated HF and HNO3 at 180 degC and 200 psi for 30 minutes, evaporated to dryness and dissolved in 100ml of 4 vol.% HNO3 | (XRF = 1) | 43.14 | 13.48 | 12.83 | 0.18 | 7.76 | 11.53 | 3.56 | 1.48 | 3.66 | 0.81 | 0 | 98.43 | Zr: 248.5; Sr: 974; Cr: 264; Ba: 544; Ni: 104; Pb: 14; Rb: 31; V: 298; Y: 37; Zn: 97
CAN-LLP-0093 |  | whole rock lava | 2022-08-04 |  |  | crushed in agate mill to fine powder | fused with lithium tetraborate (XRF major & trace), fused into glass bead (XRF Zr), or 0.100g of powder digested in concentrated HF and HNO3 at 180 degC and 200 psi for 30 minutes, evaporated to dryness and dissolved in 100ml of 4 vol.% HNO3 | (XRF = 1) | 43.14 | 13.47 | 12.83 | 0.18 | 7.9 | 11.64 | 3.57 | 1.48 | 3.66 | 0.81 | 0 | 98.68 | Zr: 248.7; Sr: 973; Cr: 271; Ba: 529; Ni: 101; Pb: 8; Rb: 28; V: 301; Y: 38; Zn: 102
CAN-LLP-0094 |  | whole rock lava | 22/9/2022 | 20/10/2022 |  | crushed in agate mill to fine powder | fused with lithium tetraborate (XRF major & trace), fused into glass bead (XRF Zr), or 0.100g of powder digested in concentrated HF and HNO3 at 180 degC and 200 psi for 30 minutes, evaporated to dryness and dissolved in 100ml of 4 vol.% HNO3 | (XRF = 1; ICPMS = 3) | 43.09 | 13.31 | 12.76 | 0.18 | 8.01 | 11.66 | 3.55 | 1.44 | 3.61 | 0.81 | 0 | 98.42 | 245.9 | 964 | 272 | 483 | 103 | 10 | 31 | 305 | 37 | 99 | 7.348 | 31.024 | 0.384 | 2.169 | 1013.046 | 486.975 | 28.417 | 323.918 | 283.473 | 45.903 | 114.183 | 96.022 | 118.787 | 21.726 | 31.017 | 68.314 | 4.184 | 274.63 | 6.77 | 4.017 | 1.76 | 0.045 | 3.703 | 1.852 | 6.885 | 73.819 | 141.754 | 16.48 | 63.388 | 11.561 | 3.574 | 9.376 | 1.266 | 6.567 | 1.177 | 2.675 | 0.371 | 2.065 | 0.309
CAN-LLP-0096 |  | whole rock lava | 2022-08-04 | 19/5/2022 |  | crushed in agate mill to fine powder | fused with lithium tetraborate (XRF major & trace), fused into glass bead (XRF Zr), or 0.100g of powder digested in concentrated HF and HNO3 at 180 degC and 200 psi for 30 minutes, evaporated to dryness and dissolved in 100ml of 4 vol.% HNO3 | (XRF = 1; ICPMS = 3) | 42.81 | 13.3 | 12.92 | 0.19 | 7.9 | 11.56 | 3.53 | 1.47 | 3.66 | 0.82 | 0 | 98.16 | 246.8 | 974 | 264 | 458 | 105 | 10 | 29 | 303 | 38 | 104 | 6.073 | 29.308 | 0.322 | 2.002 | 1001.324 | 476.599 | 26.073 | 332.669 | 260.658 | 47.107 | 114.218 | 96.848 | 132.301 | 21.446 | 30.667 | 70.641 | 2.606 | 270.082 | 6.635 | 4.196 | 2.647 | 0.028 | 3.799 | 2.003 | 5.828 | 74.198 | 143.971 | 16.33 | 62.867 | 11.605 | 3.468 | 9.2 | 1.25 | 6.348 | 1.144 | 2.622 | 0.368 | 2.071 | 0.29
CAN-TLP-0001 |  | whole rock tephra | 24/6/2022 |  | unsieved | crushed in agate mill to fine powder | fused with lithium tetraborate (XRF major & trace), fused into glass bead (XRF Zr), or 0.100g of powder digested in concentrated HF and HNO3 at 180 degC and 200 psi for 30 minutes, evaporated to dryness and dissolved in 100ml of 4 vol.% HNO3 | (XRF = 1) | 43.39 | 14.87 | 12.51 | 0.2 | 6.03 | 9.85 | 4.22 | 1.81 | 3.79 | 1.01 | 0 | 97.68 | Zr: 319; Sr: 1159; Cr: 133; Ba: 576; Ni: 54; Pb: 14; Rb: 41; V: 280; Y: 41; Zn: 115
CAN-TLP-0008 |  | whole rock tephra | 2021-01-10 | 2021-02-10 | unsieved | crushed in agate mill to fine powder | fused with lithium tetraborate (XRF major & trace), fused into glass bead (XRF Zr), or 0.100g of powder digested in concentrated HF and HNO3 at 180 degC and 200 psi for 30 minutes, evaporated to dryness anf dissolved in 100ml of 4 vol.% HNO3 | (XRF = 1; ICPMS = 3) | 43.93 | 15.07 | 12.99 | 0.2 | 5.76 | 10.06 | 4.53 | 1.87 | 3.83 | 1.07 | 0 | 99.31 | 323.5 | [9 empty] | 10.646 | 39.384 | 0.412 | 2.653 | 1189.976 | 664.791 | 22.871 | 332.511 | 101.244 | 41.694 | 56.315 | 86.34 | 142.949 | 25.153 | 36.381 | 89.878 | 5.461 | 362.144 | 8.225 | 4.505 | 2.759 | 0.104 | 4.789 | 2.588 | 8.548 | 100.313 | 193.273 | 22.403 | 86.181 | 15.868 | 4.504 | 11.934 | 1.657 | 8.777 | 1.564 | 3.593 | 0.463 | 2.701 | 0.397
CAN-TLP-0008_dup2 |  | whole rock tephra | 24/6/2022 |  | unsieved | crushed in agate mill to fine powder | fused with lithium tetraborate (XRF major & trace), fused into glass bead (XRF Zr), or 0.100g of powder digested in concentrated HF and HNO3 at 180 degC and 200 psi for 30 minutes, evaporated to dryness anf dissolved in 100ml of 4 vol.% HNO3 | (XRF = 1; ICPMS = 3 | 43.36 | 15 | 12.97 | 0.2 | 5.94 | 10.05 | 4.34 | 1.85 | 3.87 | 1.1 | 0 | 98.68 | Zr: 313; Sr: 1171; Cr: 85; Ba: 608; Ni: 47; Pb: 7; Rb: 36; V: 305; Y: 42; Zn: 114
CAN-TLP-0008_dup3 |  | whole rock tephra | 24/6/2022 |  | unsieved | crushed in agate mill to fine powder | fused with lithium tetraborate (XRF major & trace), fused into glass bead (XRF Zr), or 0.100g of powder digested in concentrated HF and HNO3 at 180 degC and 200 psi for 30 minutes, evaporated to dryness anf dissolved in 100ml of 4 vol.% HNO3 | (XRF = 1; ICPMS = 3 | 43.45 | 15.09 | 12.95 | 0.2 | 5.85 | 9.99 | 4.4 | 1.87 | 3.85 | 1.11 | 0 | 98.76 | Zr: 316; Sr: 1180; Cr: 79; Ba: 594; Ni: 51; Pb: 15; Rb: 39; V: 292; Y: 41; Zn: 118
CAN-TLP-0009 |  | whole rock tephra | 2021-01-10 | 2021-02-10 | unsieved | crushed in agate mill to fine powder | fused with lithium tetraborate (XRF major & trace), fused into glass bead (XRF Zr), or 0.100g of powder digested in concentrated HF and HNO3 at 180 degC and 200 psi for 30 minutes, evaporated to dryness anf dissolved in 100ml of 4 vol.% HNO3 | (XRF = 1; ICPMS = 3) | 44.43 | 15.47 | 12.58 | 0.2 | 5.32 | 9.6 | 4.8 | 1.97 | 3.72 | 1.13 | 0 | 99.22 | 337.5 | [9 empty] | 11.005 | 41.616 | 0.433 | 2.74 | 1231.777 | 669.278 | 19.558 | 304.938 | 84.846 | 39.651 | 51.368 | 89.815 | 139.563 | 25.247 | 36.381 | 91.78 | 5.274 | 365.989 | 8.085 | 4.897 | 2.779 | 0.106 | 5.039 | 2.733 | 8.994 | 102.412 | 196.302 | 22.588 | 86.343 | 15.804 | 4.463 | 11.659 | 1.642 | 8.546 | 1.558 | 3.569 | 0.462 | 2.689 | 0.388
CAN-TLP-0011 |  | whole rock tephra | 2021-01-10 | 2021-02-10 | unsieved | crushed in agate mill to fine powder | fused with lithium tetraborate (XRF major & trace), fused into glass bead (XRF Zr), or 0.100g of powder digested in concentrated HF and HNO3 at 180 degC and 200 psi for 30 minutes, evaporated to dryness anf dissolved in 100ml of 4 vol.% HNO3 | (XRF = 1; ICPMS = 3) | 44.66 | 15.73 | 12.2 | 0.19 | 5.3 | 9.46 | 4.86 | 2.02 | 3.69 | 1.02 | 0 | 99.13 | 332.2 | [9 empty] | 11.232 | 44.28 | 0.468 | 2.774 | 1229.574 | 707.271 | 19.747 | 314.736 | 89.214 | 40.459 | 54.969 | 97.246 | 139.909 | 24.936 | 35.801 | 95.443 | 5.603 | 369.157 | 8.017 | 5.242 | 2.928 | 0.129 | 5.59 | 2.776 | 9.18 | 104.372 | 197.68 | 22.689 | 86.397 | 15.579 | 4.489 | 11.578 | 1.62 | 8.536 | 1.548 | 3.532 | 0.467 | 2.674 | 0.395
CAN-TLP-0013 |  | whole rock tephra | 24/6/2022 |  | unsieved | crushed in agate mill to fine powder | fused with lithium tetraborate (XRF major & trace), fused into glass bead (XRF Zr), or 0.100g of powder digested in concentrated HF and HNO3 at 180 degC and 200 psi for 30 minutes, evaporated to dryness anf dissolved in 100ml of 4 vol.% HNO3 | (XRF = 1) | 42.63 | 14.4 | 13.29 | 0.2 | 6.45 | 10.62 | 4.01 | 1.71 | 4 | 1.04 | 0 | 98.35 | Zr: 293; Sr: 1106; Cr: 98; Ba: 539; Ni: 51; Pb: 13; Rb: 34; V: 316; Y: 41; Zn: 112
CAN-TLP-0015 |  | whole rock tephra | 24/6/2022 | 19/7/2022 | unsieved | crushed in agate mill to fine powder | fused with lithium tetraborate (XRF major & trace), fused into glass bead (XRF Zr), or 0.100g of powder digested in concentrated HF and HNO3 at 180 degC and 200 psi for 30 minutes, evaporated to dryness anf dissolved in 100ml of 4 vol.% HNO3 | (XRF = 1; ICPMS = 3) | 43.01 | 14.8 | 13.27 | 0.2 | 6.16 | 10.34 | 4.2 | 1.78 | 3.99 | 1.09 | 0 | 98.84 | 304 | 1148 | 92 | 584 | 51 | 15 | 38 | 318 | 40 | 117 | 9.17 | 35.791 | 0.465 | 2.721 | 1230.501 | 573.382 | 22.106 | 315.07 | 93.645 | 40.999 | 53.756 | 77.596 | 140.098 | 23.766 | 36.487 | 85.379 | 5.478 | 331.491 | 8.497 | 4.38 | 3.547 | 0.062 | 4.188 | 2.356 | 8.187 | 88.616 | 171.99 | 20.003 | 75.904 | 13.907 | 4.195 | 11.151 | 1.478 | 7.562 | 1.335 | 3.156 | 0.431 | 2.453 | 0.367
CAN-TLP-0034 |  | whole rock tephra | 24/6/2022 | 19/7/2022 | unsieved | crushed in agate mill to fine powder | fused with lithium tetraborate (XRF major & trace), fused into glass bead (XRF Zr), or 0.100g of powder digested in concentrated HF and HNO3 at 180 degC and 200 psi for 30 minutes, evaporated to dryness anf dissolved in 100ml of 4 vol.% HNO3 | (XRF = 1; ICPMS = 3) | 43.4 | 13.78 | 12.87 | 0.19 | 7.69 | 10.45 | 3.88 | 1.67 | 3.61 | 0.82 | 0 | 98.36 | 280 | 1006 | 247 | 504 | 100 | 10 | 35 | 304 | 39 | 104 | 8.508 | 36.653 | 0.455 | 2.544 | 1082.565 | 522.563 | 25.402 | 300.055 | 251.415 | 46.253 | 108.441 | 85.954 | 126.161 | 22.212 | 32.458 | 76.344 | 5.068 | 305.894 | 7.763 | 4.27 | 3.103 | 0.046 | 3.858 | 2.204 | 7.381 | 77.701 | 149.44 | 17.204 | 65.433 | 12.017 | 3.606 | 9.866 | 1.333 | 6.837 | 1.202 | 2.818 | 0.394 | 2.272 | 0.337
CAN-TLP-0040 |  | whole rock tephra | 24/6/2022 |  | unsieved | crushed in agate mill to fine powder | fused with lithium tetraborate (XRF major & trace), fused into glass bead (XRF Zr), or 0.100g of powder digested in concentrated HF and HNO3 at 180 degC and 200 psi for 30 minutes, evaporated to dryness anf dissolved in 100ml of 4 vol.% HNO3 | (XRF = 1) | 44.02 | 14 | 12.75 | 0.19 | 7.78 | 10.47 | 3.93 | 1.69 | 3.59 | 0.82 | 0 | 99.24 | Zr: 281; Sr: 1011; Cr: 259; Ba: 532; Ni: 100; Pb: 12; Rb: 37; V: 291; Y: 36; Zn: 107
CAN-TLP-0079 |  | whole rock tephra | 24/6/2022 | 19/7/2022 | unsieved | crushed in agate mill to fine powder | fused with lithium tetraborate (XRF major & trace), fused into glass bead (XRF Zr), or 0.100g of powder digested in concentrated HF and HNO3 at 180 degC and 200 psi for 30 minutes, evaporated to dryness anf dissolved in 100ml of 4 vol.% HNO3 | (XRF = 1; ICPMS = 3) | 43.54 | 13.57 | 12.89 | 0.19 | 7.97 | 10.61 | 3.58 | 1.57 | 3.59 | 0.77 | 0 | 98.28 | 260 | 952 | 306 | 501 | 106 | 9 | 33 | 291 | 36 | 105 | 7.783 | 35.349 | 0.455 | 2.314 | 1030.19 | 506.053 | 26.018 | 308.809 | 326.249 | 47.118 | 118.575 | 87.533 | 127.868 | 22.382 | 31.438 | 72.998 | 4.626 | 294.375 | 7.275 | 4.211 | 3.197 | 0.081 | 4.149 | 2.077 | 6.919 | 73.596 | 140.309 | 16.141 | 62.096 | 11.495 | 3.476 | 9.342 | 1.283 | 6.423 | 1.159 | 2.695 | 0.377 | 2.141 | 0.315
CAN-TLP-0099 |  | whole rock tephra | 2022-08-04 | 20/10/2022 | unsieved | crushed in agate mill to fine powder | fused with lithium tetraborate (XRF major & trace), fused into glass bead (XRF Zr), or 0.100g of powder digested in concentrated HF and HNO3 at 180 degC and 200 psi for 30 minutes, evaporated to dryness anf dissolved in 100ml of 4 vol.% HNO3 | (XRF = 1; ICPMS = 3) | 43.64 | 13.67 | 12.73 | 0.19 | 7.91 | 10.69 | 3.68 | 1.58 | 3.56 | 0.76 | 0 | 98.41 | 257.2 | 940 | 321 | 472 | 108 | 13 | 35 | 292 | 37 | 103 | 8.004 | 35.372 | 0.435 | 2.274 | 1011.739 | 524.214 | 25.964 | 306.511 | 310.134 | 44.88 | 109.032 | 88.382 | 123.63 | 22.284 | 30.537 | 70.912 | 4.311 | 284.973 | 7.068 | 4.131 | 1.726 | 0.059 | 3.906 | 1.973 | 7.067 | 73.883 | 139.778 | 16.018 | 61.555 | 11.241 | 3.469 | 9.164 | 1.257 | 6.426 | 1.178 | 2.726 | 0.377 | 2.132 | 0.31
CAN-TLP-0167 |  | whole rock tephra | 22/9/2022 | 20/10/2022 | unsieved | crushed in agate mill to fine powder | fused with lithium tetraborate (XRF major & trace), fused into glass bead (XRF Zr), or 0.100g of powder digested in concentrated HF and HNO3 at 180 degC and 200 psi for 30 minutes, evaporated to dryness anf dissolved in 100ml of 4 vol.% HNO3 | (XRF = 1; ICPMS = 3) | 43.54 | 13.52 | 12.83 | 0.19 | 8.04 | 11.23 | 3.62 | 1.47 | 3.59 | 0.76 | 0 | 98.79 | 245.2 | 925 | 299 | 451 | 103 | 13 | 31 | 279 | 37 | 99 | 7.342 | 31.564 | 0.386 | 2.086 | 956.774 | 473.376 | 26.854 | 306.239 | 311.037 | 45.481 | 114.39 | 91.84 | 116.026 | 21.311 | 29.565 | 65.111 | 4.082 | 266.373 | 6.491 | 3.646 | 1.624 | 0.033 | 3.12 | 1.712 | 6.255 | 68.456 | 131.289 | 15.207 | 59.276 | 10.926 | 3.378 | 8.875 | 1.221 | 6.288 | 1.13 | 2.611 | 0.369 | 2.049 | 0.29
CAN-TLP-0199 |  | whole rock tephra | 22/9/2022 | 20/10/2022 | unsieved | crushed in agate mill to fine powder | fused with lithium tetraborate (XRF major & trace), fused into glass bead (XRF Zr), or 0.100g of powder digested in concentrated HF and HNO3 at 180 degC and 200 psi for 30 minutes, evaporated to dryness anf dissolved in 100ml of 4 vol.% HNO3 | (XRF = 1; ICPMS = 3) | 43.1 | 13.36 | 13.1 | 0.19 | 8.07 | 11.08 | 3.51 | 1.46 | 3.62 | 0.77 | 0 | 98.26 | 240.3 | 923 | 318 | 460 | 108 | 17 | 32 | 310 | 37 | 103 | 7.034 | 30.9 | 0.382 | 2.055 | 953.757 | 472.387 | 27.545 | 316.184 | 326.019 | 46.882 | 117.453 | 88.392 | 117.816 | 21.348 | 29.468 | 65.293 | 4.166 | 264.235 | 6.384 | 3.592 | 1.598 | 0.04 | 3.179 | 1.713 | 6.263 | 67.546 | 130.486 | 15.048 | 58.626 | 10.901 | 3.4 | 8.818 | 1.203 | 6.198 | 1.129 | 2.551 | 0.366 | 2.017 | 0.29
CAN-TLP-0270 |  | whole rock tephra | 22/9/2022 | 20/10/2022 | unsieved | crushed in agate mill to fine powder | fused with lithium tetraborate (XRF major & trace), fused into glass bead (XRF Zr), or 0.100g of powder digested in concentrated HF and HNO3 at 180 degC and 200 psi for 30 minutes, evaporated to dryness anf dissolved in 100ml of 4 vol.% HNO3 | (XRF = 1; ICPMS = 3) | 43.3 | 12.91 | 13.06 | 0.18 | 9.08 | 11.54 | 3.29 | 1.34 | 3.6 | 0.74 | 0 | 99.04 | 226.8 | 875 | 376 | 419 | 134 | 10 | 27 | 286 | 36 | 99 | 6.677 | 28.103 | 0.348 | 1.945 | 925.174 | 444.438 | 28.987 | 314.687 | 382.802 | 49.57 | 142.562 | 92.947 | 112.799 | 20.834 | 29.23 | 60.926 | 3.886 | 253.123 | 6.173 | 3.414 | 1.659 | 0.033 | 2.763 | 1.593 | 5.921 | 65.726 | 127.114 | 14.773 | 57.831 | 10.987 | 3.376 | 8.791 | 1.203 | 6.19 | 1.105 | 2.554 | 0.361 | 1.972 | 0.282
CAN-TLP-0370 |  | whole rock tephra | 22/9/2022 | 20/10/2022 | unsieved | crushed in agate mill to fine powder | fused with lithium tetraborate (XRF major & trace), fused into glass bead (XRF Zr), or 0.100g of powder digested in concentrated HF and HNO3 at 180 degC and 200 psi for 30 minutes, evaporated to dryness anf dissolved in 100ml of 4 vol.% HNO3 | (XRF = 1; ICPMS = 3) | 42.98 | 13.24 | 12.9 | 0.18 | 8.07 | 11.6 | 3.51 | 1.43 | 3.61 | 0.8 | 0 | 98.32 | 239.4 | 951 | 291 | 462 | 107 | 9 | 30 | 308 | 38 | 100 | 7.034 | 29.832 | 0.369 | 1.924 | 987.26 | 475.967 | 28.15 | 315.776 | 289.642 | 45.843 | 116.648 | 97.376 | 117.528 | 20.976 | 29.998 | 66.275 | 4.084 | 265.85 | 6.518 | 4.088 | 1.641 | 0.032 | 3.043 | 1.793 | 6.512 | 72.342 | 138.115 | 16.002 | 61.447 | 11.438 | 3.545 | 9.251 | 1.249 | 6.475 | 1.168 | 2.71 | 0.367 | 2.062 | 0.296
CAN-TLP-0397 |  | whole rock tephra | 2022-08-04 | 19/5/2022 | unsieved | crushed in agate mill to fine powder | fused with lithium tetraborate (XRF major & trace), fused into glass bead (XRF Zr), or 0.100g of powder digested in concentrated HF and HNO3 at 180 degC and 200 psi for 30 minutes, evaporated to dryness anf dissolved in 100ml of 4 vol.% HNO3 | (XRF = 1; ICPMS = 3) | 43.24 | 13.34 | 12.95 | 0.18 | 8.19 | 11.42 | 3.46 | 1.44 | 3.65 | 0.8 | 0 | 98.67 | 244.3 | 953 | 288 | 506 | 104 | 13 | 31 | 299 | 37 | 101 | 6.558 | 32.493 | 0.38 | 1.93 | 1028.836 | 477.066 | 29.128 | 330.906 | 311.541 | 48.448 | 121.964 | 89.266 | 131.265 | 21.736 | 31.912 | 68.012 | 2.578 | 268.372 | 6.556 | 4.061 | 2.622 | 0.045 | 3.279 | 1.937 | 6.051 | 73.582 | 139.455 | 16.094 | 62.22 | 11.543 | 3.457 | 9.278 | 1.274 | 6.462 | 1.181 | 2.729 | 0.378 | 2.123 | 0.31
CAN-TLP-0445 |  | whole rock tephra | 22/9/2022 | 20/10/2022 | unsieved | crushed in agate mill to fine powder | fused with lithium tetraborate (XRF major & trace), fused into glass bead (XRF Zr), or 0.100g of powder digested in concentrated HF and HNO3 at 180 degC and 200 psi for 30 minutes, evaporated to dryness anf dissolved in 100ml of 4 vol.% HNO3 | (XRF = 1; ICPMS = 3) | 43.43 | 13.21 | 12.91 | 0.18 | 8.39 | 11.93 | 3.42 | 1.42 | 3.63 | 0.81 | 0 | 99.33 | 245.3 | 952 | 335 | 437 | 130 | 8 | 31 | 312 | 36 | 100 | 6.967 | 29.813 | 0.377 | 2.121 | 1002.513 | 487.277 | 28.816 | 318.831 | 303.73 | 46.703 | 120.667 | 92.439 | 117.287 | 21.074 | 30.653 | 67.154 | 4.118 | 269.873 | 6.783 | 3.85 | 1.711 | 0.051 | 3.493 | 1.801 | 6.64 | 74.23 | 142.158 | 16.524 | 64.04 | 11.94 | 3.577 | 9.558 | 1.294 | 6.539 | 1.182 | 2.693 | 0.379 | 2.093 | 0.311
CAN-BLP-0010 |  | whole rock ballistic | 2022-08-04 | 19/5/2022 |  | crushed in agate mill to fine powder | fused with lithium tetraborate (XRF major & trace), fused into glass bead (XRF Zr), or 0.100g of powder digested in concentrated HF and HNO3 at 180 degC and 200 psi for 30 minutes, evaporated to dryness and dissolved in 100ml of 4 vol.% HNO3 | (XRF = 1; ICPMS = 3) | 43.88 | 13.65 | 12.8 | 0.19 | 8.13 | 10.92 | 3.7 | 1.54 | 3.53 | 0.75 | 0 | 99.09 | 255.6 | 934 | 304 | 489 | 111 | 10 | 33 | 285 | 37 | 103 | 6.947 | 34.559 | 0.388 | 2.064 | 997.876 | 490.781 | 26.386 | 315.617 | 326.034 | 47.913 | 123.74 | 89.077 | 127.634 | 22.156 | 30.889 | 69.905 | 2.554 | 278.653 | 6.771 | 4.031 | 2.633 | 0.042 | 3.699 | 1.989 | 6.033 | 70.973 | 135.692 | 15.372 | 59.274 | 11.077 | 3.322 | 8.881 | 1.212 | 6.265 | 1.122 | 2.617 | 0.372 | 2.082 | 0.301
CAN-BLP-0016 |  | whole rock ballistic | 2022-08-04 |  |  | crushed in agate mill to fine powder | fused with lithium tetraborate (XRF major & trace), fused into glass bead (XRF Zr), or 0.100g of powder digested in concentrated HF and HNO3 at 180 degC and 200 psi for 30 minutes, evaporated to dryness anf dissolved in 100ml of 4 vol.% HNO3 | (XRF = 1) | 43.99 | 13.65 | 12.9 | 0.19 | 8.22 | 11 | 3.56 | 1.45 | 3.55 | 0.76 | 0 | 99.27 | Zr: 255; Sr: 934; Cr: 319; Ba: 480; Ni: 117; Pb: 15; Rb: 33; V: 287; Y: 37; Zn: 103
CAN-BLP-0017 |  | whole rock ballistic | 2022-08-04 |  |  | crushed in agate mill to fine powder | fused with lithium tetraborate (XRF major & trace), fused into glass bead (XRF Zr), or 0.100g of powder digested in concentrated HF and HNO3 at 180 degC and 200 psi for 30 minutes, evaporated to dryness anf dissolved in 100ml of 4 vol.% HNO3 | (XRF = 1) | 42.33 | 14.04 | 13.08 | 0.19 | 6.63 | 11.16 | 3.88 | 1.77 | 4.21 | 0.98 | 0 | 98.27 | Zr: 279.5; Sr: 1080; Cr: 133; Ba: 603; Ni: 62; Pb: 9; Rb: 37; V: 324; Y: 40; Zn: 101
CAN-BLP-0023 |  | whole rock ballistic | 2022-08-04 |  |  | crushed in agate mill to fine powder | fused with lithium tetraborate (XRF major & trace), fused into glass bead (XRF Zr), or 0.100g of powder digested in concentrated HF and HNO3 at 180 degC and 200 psi for 30 minutes, evaporated to dryness and dissolved in 100ml of 4 vol.% HNO3 | (XRF = 1) | 43.09 | 13.87 | 12.82 | 0.19 | 7.55 | 10.54 | 3.92 | 1.69 | 3.62 | 0.82 | 0 | 98.11 | Zr: 275.2; Sr: 1018; Cr: 238; Ba: 556; Ni: 102; Pb: 11; Rb: 35; V: 285; Y: 37; Zn: 102

## 4 Primary Analytical Metadata
Primary Analytical Metadata
FROM DATA TAB |  | ANALYTICAL PROCEDURE |  |  |  |  | ANALYTICAL ACCURACY & REPRODUCIBILITY
[7 empty] | reference sample name | reference sample measured value | reference sample measured value unit | reference uncertainty | reference uncertainty unit
METHOD CODE | PARAMETER | TECHNIQUE | INSTRUMENT | LABORATORY | analyst | analysis date | [5 empty] | number of measurements
assign a number that links method to paramater; must match the DATA tab row 3 | must match a parameter in the DATA tab row 2 | [view list] | [7 empty] | 2* standard deviation |  | leave blank if 1
1 | SiO2 | XRF | PANalytical Zetium | Universidad de Granada, Spain | María Isabel Moreno Vida | Sept 2021-Sept 2022 | BHVO-1 | 49.7675 | wt% | 0.37749 | wt% | 4
1 | Al2O3 | XRF | PANalytical Zetium | Universidad de Granada, Spain | María Isabel Moreno Vida | Sept 2021-Sept 2022 | BHVO-1 | 13.7075 | wt% | 0.11358 | wt% | 4
1 | Fe2O3 | XRF | PANalytical Zetium | Universidad de Granada, Spain | María Isabel Moreno Vida | Sept 2021-Sept 2022 | BHVO-1 | 12.2525 | wt% | 0.1464 | wt% | 4
1 | MnO | XRF | PANalytical Zetium | Universidad de Granada, Spain | María Isabel Moreno Vida | Sept 2021-Sept 2022 | BHVO-1 | 0.17 | wt% | 0 | wt% | 4
1 | MgO | XRF | PANalytical Zetium | Universidad de Granada, Spain | María Isabel Moreno Vida | Sept 2021-Sept 2022 | BHVO-1 | 7.2275 | wt% | 0.09 | wt% | 4
1 | CaO | XRF | PANalytical Zetium | Universidad de Granada, Spain | María Isabel Moreno Vida | Sept 2021-Sept 2022 | BHVO-1 | 11.305 | wt% | 0.23238 | wt% | 4
1 | Na2O | XRF | PANalytical Zetium | Universidad de Granada, Spain | María Isabel Moreno Vida | Sept 2021-Sept 2022 | BHVO-1 | 2.3975 | wt% | 0.037859 | wt% | 4
1 | K2O | XRF | PANalytical Zetium | Universidad de Granada, Spain | María Isabel Moreno Vida | Sept 2021-Sept 2022 | BHVO-1 | 0.53 | wt% | 0 | wt% | 4
1 | TiO2 | XRF | PANalytical Zetium | Universidad de Granada, Spain | María Isabel Moreno Vida | Sept 2021-Sept 2022 | BHVO-1 | 2.7325 | wt% | 0.034157 | wt% | 4
1 | P2O5 | XRF | PANalytical Zetium | Universidad de Granada, Spain | María Isabel Moreno Vida | Sept 2021-Sept 2022 | BHVO-1 | 0.2725 | wt% | 0.01 | wt% | 4
1 | Zr | XRF | PANalytical Zetium | Universidad de Granada, Spain | María Isabel Moreno Vida | Sept 2021-Sept 2022 | BHVO-1 | 151.15 | ppm | 5.3129 | ppm | 4
1 | Sr | XRF | PANalytical Zetium | Universidad de Granada, Spain | María Isabel Moreno Vida | Sept 2021-Sept 2022 | BHVO-1 | 373.3333 | ppm | 2.3094 | ppm | 3
1 | Cr | XRF | PANalytical Zetium | Universidad de Granada, Spain | María Isabel Moreno Vida | Sept 2021-Sept 2022 | BHVO-1 | 291 | ppm | 3.4641 | ppm | 3
1 | Ba | XRF | PANalytical Zetium | Universidad de Granada, Spain | María Isabel Moreno Vida | Sept 2021-Sept 2022 | BHVO-1 | 49.3333 | ppm | 22.6274 | ppm | 3
1 | Ni | XRF | PANalytical Zetium | Universidad de Granada, Spain | María Isabel Moreno Vida | Sept 2021-Sept 2022 | BHVO-1 | 88.3333 | ppm | 2.8284 | ppm | 3
1 | Pb | XRF | PANalytical Zetium | Universidad de Granada, Spain | María Isabel Moreno Vida | Sept 2021-Sept 2022 | BHVO-1 | 11.3333 | ppm | 4.6188 | ppm | 3
1 | Rb | XRF | PANalytical Zetium | Universidad de Granada, Spain | María Isabel Moreno Vida | Sept 2021-Sept 2022 | BHVO-1 | 46 | ppm | 1.4142 | ppm | 3
1 | V | XRF | PANalytical Zetium | Universidad de Granada, Spain | María Isabel Moreno Vida | Sept 2021-Sept 2022 | BHVO-1 | 230.3333 | ppm | 5.6569 | ppm | 3
1 | Y | XRF | PANalytical Zetium | Universidad de Granada, Spain | María Isabel Moreno Vida | Sept 2021-Sept 2022 | BHVO-1 | 26.6667 | ppm | 1.4142 | ppm | 3
1 | Zn | XRF | PANalytical Zetium | Universidad de Granada, Spain | María Isabel Moreno Vida | Sept 2021-Sept 2022 | BHVO-1 | 157 | ppm | 2.8284 | ppm | 3
2 | Li | ICP:MS | NexION 300D Quadrupole Ion Filter Plasma Torch Ion Source Mass Spectrometer | Universidad de Granada, Spain | Olga Cazalla Vázquez | Sept 2021-Sept 2022 | UBN | 26.965 | ppm | 1.3483 | ppm
2 | Rb | ICP:MS | NexION 300D Quadrupole Ion Filter Plasma Torch Ion Source Mass Spectrometer | Universidad de Granada, Spain | Olga Cazalla Vázquez | Sept 2021-Sept 2022 | UBN | 3.29 | ppm | 0.1645 | ppm
2 | Cs | ICP:MS | NexION 300D Quadrupole Ion Filter Plasma Torch Ion Source Mass Spectrometer | Universidad de Granada, Spain | Olga Cazalla Vázquez | Sept 2021-Sept 2022 | UBN | 10.113 | ppm | 0.50565 | ppm
2 | Be | ICP:MS | NexION 300D Quadrupole Ion Filter Plasma Torch Ion Source Mass Spectrometer | Universidad de Granada, Spain | Olga Cazalla Vázquez | Sept 2021-Sept 2022 | UBN | 0.131 | ppm | 0.00655 | ppm
2 | Sr | ICP:MS | NexION 300D Quadrupole Ion Filter Plasma Torch Ion Source Mass Spectrometer | Universidad de Granada, Spain | Olga Cazalla Vázquez | Sept 2021-Sept 2022 | UBN | 7.336 | ppm | 0.3668 | ppm
2 | Ba | ICP:MS | NexION 300D Quadrupole Ion Filter Plasma Torch Ion Source Mass Spectrometer | Universidad de Granada, Spain | Olga Cazalla Vázquez | Sept 2021-Sept 2022 | UBN | 25.042 | ppm | 1.2521 | ppm
2 | Sc | ICP:MS | NexION 300D Quadrupole Ion Filter Plasma Torch Ion Source Mass Spectrometer | Universidad de Granada, Spain | Olga Cazalla Vázquez | Sept 2021-Sept 2022 | UBN | 13.289 | ppm | 0.66445 | ppm
2 | V | ICP:MS | NexION 300D Quadrupole Ion Filter Plasma Torch Ion Source Mass Spectrometer | Universidad de Granada, Spain | Olga Cazalla Vázquez | Sept 2021-Sept 2022 | UBN | 65.457 | ppm | 1.3091 | ppm
2 | Cr | ICP:MS | NexION 300D Quadrupole Ion Filter Plasma Torch Ion Source Mass Spectrometer | Universidad de Granada, Spain | Olga Cazalla Vázquez | Sept 2021-Sept 2022 | UBN | 2266.594 | ppm | 45.3319 | ppm
2 | Co | ICP:MS | NexION 300D Quadrupole Ion Filter Plasma Torch Ion Source Mass Spectrometer | Universidad de Granada, Spain | Olga Cazalla Vázquez | Sept 2021-Sept 2022 | UBN | 99.506 | ppm | 1.9901 | ppm
2 | Ni | ICP:MS | NexION 300D Quadrupole Ion Filter Plasma Torch Ion Source Mass Spectrometer | Universidad de Granada, Spain | Olga Cazalla Vázquez | Sept 2021-Sept 2022 | UBN | 1983.191 | ppm | 39.6638 | ppm
2 | Cu | ICP:MS | NexION 300D Quadrupole Ion Filter Plasma Torch Ion Source Mass Spectrometer | Universidad de Granada, Spain | Olga Cazalla Vázquez | Sept 2021-Sept 2022 | UBN | 24.718 | ppm | 1.2359 | ppm
2 | Zn | ICP:MS | NexION 300D Quadrupole Ion Filter Plasma Torch Ion Source Mass Spectrometer | Universidad de Granada, Spain | Olga Cazalla Vázquez | Sept 2021-Sept 2022 | UBN | 80.614 | ppm | 1.6123 | ppm
2 | Ga | ICP:MS | NexION 300D Quadrupole Ion Filter Plasma Torch Ion Source Mass Spectrometer | Universidad de Granada, Spain | Olga Cazalla Vázquez | Sept 2021-Sept 2022 | UBN | 2.277 | ppm | 0.11385 | ppm
2 | Y | ICP:MS | NexION 300D Quadrupole Ion Filter Plasma Torch Ion Source Mass Spectrometer | Universidad de Granada, Spain | Olga Cazalla Vázquez | Sept 2021-Sept 2022 | UBN | 2.564 | ppm | 0.1282 | ppm
2 | Nb | ICP:MS | NexION 300D Quadrupole Ion Filter Plasma Torch Ion Source Mass Spectrometer | Universidad de Granada, Spain | Olga Cazalla Vázquez | Sept 2021-Sept 2022 | UBN | 0.145 | ppm | 0.00725 | ppm
2 | Ta | ICP:MS | NexION 300D Quadrupole Ion Filter Plasma Torch Ion Source Mass Spectrometer | Universidad de Granada, Spain | Olga Cazalla Vázquez | Sept 2021-Sept 2022 | UBN | 0.071 | ppm | 0.00355 | ppm
2 | Zr | ICP:MS | NexION 300D Quadrupole Ion Filter Plasma Torch Ion Source Mass Spectrometer | Universidad de Granada, Spain | Olga Cazalla Vázquez | Sept 2021-Sept 2022 | UBN | 4.144 | ppm | 0.2072 | ppm
2 | Hf | ICP:MS | NexION 300D Quadrupole Ion Filter Plasma Torch Ion Source Mass Spectrometer | Universidad de Granada, Spain | Olga Cazalla Vázquez | Sept 2021-Sept 2022 | UBN | 0.218 | ppm | 0.0109 | ppm
2 | Mo | ICP:MS | NexION 300D Quadrupole Ion Filter Plasma Torch Ion Source Mass Spectrometer | Universidad de Granada, Spain | Olga Cazalla Vázquez | Sept 2021-Sept 2022 | UBN | 0.247 | ppm | 0.01235 | ppm
2 | Sn | ICP:MS | NexION 300D Quadrupole Ion Filter Plasma Torch Ion Source Mass Spectrometer | Universidad de Granada, Spain | Olga Cazalla Vázquez | Sept 2021-Sept 2022 | UBN | 0.297 | ppm | 0.01485 | ppm
2 | Tl | ICP:MS | NexION 300D Quadrupole Ion Filter Plasma Torch Ion Source Mass Spectrometer | Universidad de Granada, Spain | Olga Cazalla Vázquez | Sept 2021-Sept 2022 | UBN | 0.026 | ppm | 0.0013 | ppm
2 | Pb | ICP:MS | NexION 300D Quadrupole Ion Filter Plasma Torch Ion Source Mass Spectrometer | Universidad de Granada, Spain | Olga Cazalla Vázquez | Sept 2021-Sept 2022 | UBN | 12.525 | ppm | 0.62625 | ppm
2 | U | ICP:MS | NexION 300D Quadrupole Ion Filter Plasma Torch Ion Source Mass Spectrometer | Universidad de Granada, Spain | Olga Cazalla Vázquez | Sept 2021-Sept 2022 | UBN | 0.071 | ppm | 0.00355 | ppm
2 | Th | ICP:MS | NexION 300D Quadrupole Ion Filter Plasma Torch Ion Source Mass Spectrometer | Universidad de Granada, Spain | Olga Cazalla Vázquez | Sept 2021-Sept 2022 | UBN | 0.103 | ppm | 0.00515 | ppm
2 | La | ICP:MS | NexION 300D Quadrupole Ion Filter Plasma Torch Ion Source Mass Spectrometer | Universidad de Granada, Spain | Olga Cazalla Vázquez | Sept 2021-Sept 2022 | UBN | 0.37 | ppm | 0.0185 | ppm
2 | Ce | ICP:MS | NexION 300D Quadrupole Ion Filter Plasma Torch Ion Source Mass Spectrometer | Universidad de Granada, Spain | Olga Cazalla Vázquez | Sept 2021-Sept 2022 | UBN | 0.818 | ppm | 0.0409 | ppm
2 | Pr | ICP:MS | NexION 300D Quadrupole Ion Filter Plasma Torch Ion Source Mass Spectrometer | Universidad de Granada, Spain | Olga Cazalla Vázquez | Sept 2021-Sept 2022 | UBN | 0.123 | ppm | 0.00615 | ppm
2 | Nd | ICP:MS | NexION 300D Quadrupole Ion Filter Plasma Torch Ion Source Mass Spectrometer | Universidad de Granada, Spain | Olga Cazalla Vázquez | Sept 2021-Sept 2022 | UBN | 0.608 | ppm | 0.0304 | ppm
2 | Sm | ICP:MS | NexION 300D Quadrupole Ion Filter Plasma Torch Ion Source Mass Spectrometer | Universidad de Granada, Spain | Olga Cazalla Vázquez | Sept 2021-Sept 2022 | UBN | 0.192 | ppm | 0.0096 | ppm
2 | Eu | ICP:MS | NexION 300D Quadrupole Ion Filter Plasma Torch Ion Source Mass Spectrometer | Universidad de Granada, Spain | Olga Cazalla Vázquez | Sept 2021-Sept 2022 | UBN | 0.069 | ppm | 0.00345 | ppm
2 | Gd | ICP:MS | NexION 300D Quadrupole Ion Filter Plasma Torch Ion Source Mass Spectrometer | Universidad de Granada, Spain | Olga Cazalla Vázquez | Sept 2021-Sept 2022 | UBN | 0.333 | ppm | 0.01665 | ppm
2 | Tb | ICP:MS | NexION 300D Quadrupole Ion Filter Plasma Torch Ion Source Mass Spectrometer | Universidad de Granada, Spain | Olga Cazalla Vázquez | Sept 2021-Sept 2022 | UBN | 0.065 | ppm | 0.00325 | ppm
2 | Dy | ICP:MS | NexION 300D Quadrupole Ion Filter Plasma Torch Ion Source Mass Spectrometer | Universidad de Granada, Spain | Olga Cazalla Vázquez | Sept 2021-Sept 2022 | UBN | 0.386 | ppm | 0.0193 | ppm
2 | Ho | ICP:MS | NexION 300D Quadrupole Ion Filter Plasma Torch Ion Source Mass Spectrometer | Universidad de Granada, Spain | Olga Cazalla Vázquez | Sept 2021-Sept 2022 | UBN | 0.085 | ppm | 0.00425 | ppm
2 | Er | ICP:MS | NexION 300D Quadrupole Ion Filter Plasma Torch Ion Source Mass Spectrometer | Universidad de Granada, Spain | Olga Cazalla Vázquez | Sept 2021-Sept 2022 | UBN | 0.269 | ppm | 0.01345 | ppm
2 | Tm | ICP:MS | NexION 300D Quadrupole Ion Filter Plasma Torch Ion Source Mass Spectrometer | Universidad de Granada, Spain | Olga Cazalla Vázquez | Sept 2021-Sept 2022 | UBN | 0.037 | ppm | 0.00185 | ppm
2 | Yb | ICP:MS | NexION 300D Quadrupole Ion Filter Plasma Torch Ion Source Mass Spectrometer | Universidad de Granada, Spain | Olga Cazalla Vázquez | Sept 2021-Sept 2022 | UBN | 0.275 | ppm | 0.01375 | ppm
2 | Lu | ICP:MS | NexION 300D Quadrupole Ion Filter Plasma Torch Ion Source Mass Spectrometer | Universidad de Granada, Spain | Olga Cazalla Vázquez | Sept 2021-Sept 2022 | UBN | 0.043 | ppm | 0.00215 | ppm

## 5 Method-specific Metadata
Method-specific Metadata
FROM DATA TAB |  | DETECTION LIMIT
METHOD CODE | PARAMETER | detection limit | unit
must match a code in the DATA tab row 3 | must match a parameter in the DATA tab row 2 |  | e.g. ppm
1 | SiO2 | 0.1 | wt%
1 | Al2O3 | 0.1 | wt%
1 | Fe2O3 | 0.1 | wt%
1 | MnO | 0.1 | wt%
1 | MgO | 0.1 | wt%
1 | CaO | 0.1 | wt%
1 | Na2O | 0.1 | wt%
1 | K2O | 0.1 | wt%
1 | TiO2 | 0.1 | wt%
1 | P2O5 | 0.1 | wt%
1 | Zr | 5 | ppm
1 | Sr | 5 | ppm
1 | Cr | 5 | ppm
1 | Ba | 10 | ppm
1 | Ni | 5 | ppm
1 | Pb | 5 | ppm
1 | Rb | 5 | ppm
1 | V | 5 | ppm
1 | Y | 5 | ppm
1 | Zn | 5 | ppm
2 | Li | 1 | ppt
2 | Rb | 1 | ppt
2 | Cs | <0.1 | ppt
2 | Be | 1 | ppt
2 | Sr | <0.1 | ppt
2 | Ba | 1 | ppt
2 | Sc | 10 | ppt
2 | V | 1 | ppt
2 | Cr | 10 | ppt
2 | Co | 1 | ppt
2 | Ni | 1 | ppt
2 | Cu | 1 | ppt
2 | Zn | 10 | ppt
2 | Ga | 1 | ppt
2 | Y | <0.1 | ppt
2 | Nb | 1 | ppt
2 | Ta | <0.1 | ppt
2 | Zr | 1 | ppt
2 | Hf | 1 | ppt
2 | Mo | 1 | ppt
2 | Sn | 1 | ppt
2 | Tl | <0.1 | ppt
2 | Pb | 1 | ppt
2 | U | <0.1 | ppt
2 | Th | 1 | ppt
2 | La | <0.1 | ppt
2 | Ce | <0.1 | ppt
2 | Pr | <0.1 | ppt
2 | Nd | 1 | ppt
2 | Sm | 1 | ppt
2 | Eu | <0.1 | ppt
2 | Gd | 1 | ppt
2 | Tb | <0.1 | ppt
2 | Dy | 1 | ppt
2 | Ho | <0.1 | ppt
2 | Er | 1 | ppt
2 | Tm | <0.1 | ppt
2 | Yb | 1 | ppt
2 | Lu | <0.1 | ppt