This Supplementary Material 1 accompanies the article:

Howe, T., Christopher, T., Moune, S., Tuffen, H., Cole, P. and Schiavi, F. (2026) “Volatile emissions and magma storage conditions for the 2021 explosive eruption at La Soufrière volcano, St Vincent, from melt inclusions”, Volcanica, 9(1), pp. 231–258. doi: 10.30909/vol/odlf5080.

* Corresponding author: tivonnehowe@live.com

Contents:

- Figure S1 to S7

- Table S1 to S3

SIMS Calibration

Figure S1 – Comparison of calibration curves used to calculate CO2 and H2O via different SIMS instruments. CO2 and H2O were analysed via Cameca IMS 7f-GEO using the curves of CO2 vs C/Si * SiO2 and H2O vs H/Si based on basaltic and rhyolitic standards and via Cameca IMS 1280 HR2 using the curves of CO2 vs C/Si*SiO2 and H2O vs OH/Si*SiO2 for basaltic and, rhyolitic standards. For the 7f-GEO, standards are N72, 5, M40, 519-4-1, RB480, Siss48, Siss61; Sisson and Grove, 1993; Brooker et al., 1999; Hauri et al., 2002; Shishkina et al., 2010). For the 1280 HR2, standards are 47963, 60701, ALV-1833-11, CY82-31-02V, KL2-G, Panum Dome, NW-Coulee, M35, M40, M43, M48, MC84-df, VG2, WOK28-3; Newman et al., 1988; Hawkins et al., 1990; Stopler and Newman, 1994; Hauri et al., 2002; Jochum et al., 2006; Shishkina et al., 2010; Bindeman et al., 2012; Sobolev et al., 2016).

EPMA Standards

| Major & Volatile Elements | Standard | Diffraction Crystal | Counting Time (s) | Beam Current (nA) |
| --- | --- | --- | --- | --- |
| Si | Wollastonite | TAP | 10 | 4 |
| Ti | TiMnO3 | LPET | 10 | 4 |
| Al | Orthoclase | LTAP | 20 | 4 |
| Fe | Fayalite | LLIF | 20 | 4 |
| Mn | TiMnO3 | LLIF | 10 | 4 |
| Mg | Forsterite | TAP | 10 | 4 |
| Ca | Wollastonite | LPET | 10 | 4 |
| Na | Albite | LTAP | 10 | 4 |
| K | Orthoclase | LPET | 10 | 4 |
| P | Apatite | PET | 30 | 4 |
| S | VG2 | LPET | 20 x 51 | 40 |
| Cl | scap | LPET | 20 x 51 | 40 |
| F | CaF2 | TAP, LTAP | 20 x 51 | 40 |

Table S1 - Analytical conditions for the application of EPMA on melt inclusion glasses.

1 – Volatile elements were analysed with a counting time of 20 seconds for 5 cycles in the same spot, amounting to 100s for each spot.

| Major Elements | Standard | Diffraction Crystal | Counting Time (s) | Beam Current (nA) |
| --- | --- | --- | --- | --- |
| Si1 | San Carlos | TAP | 10 | 15 |
|  | Wollastonite |  |  |  |
| Ti | TiMnO3 | PET | 10 | 15 |
| Al | Orthoclase | LTAP | 10 | 15 |
| Fe | Fayalite | LLIF | 10 | 15 |
| Mn | TiMnO3 | LLIF | 10 | 15 |
| Mg | Forsterite | TAP | 10 | 15 |
| Ca | Wollastonite | LPET | 10 | 15 |
| Na | Albite | LTAP | 10 | 15 |
| K | Orthoclase | LPET | 10 | 15 |
| Cr | Cr2O3 | PET | 10 | 15 |

Table S2 - Analytical conditions for the application of EPMA on crystals hosting melt inclusions

1 – San Carlos olivine was used to calibrate for Si when measuring olivine crystals, and wollastonite when measuring plagioclase and pyroxene crystals.

ICP-OES Standards

| Standard | BR | GH |
| --- | --- | --- |
| SiO2 | 38.20 | 75.80 |
| TiO2 | 1.40 | 4.76 |
| Al2O3 | 10.20 | 12.50 |
| Fe2O3 | 12.88 | 1.34 |
| MnO | 2.60 | 0.08 |
| MgO | 0.20 | 0.05 |
| CaO | 13.28 | 0.03 |
| Na2O | 13.80 | 0.69 |
| K2O | 3.05 | 3.85 |
| P2O5 | 1.04 | 0.01 |
| Ba | 0.1050 | 0.0002 |
| Sr | 0.1320 | 0.0001 |
| H2O | 2.80 | 0.60 |
| Total | 99.7 | 99.7 |

Table S3 – Reference values for the standards BR and GH used for calibration for ICP-OES

Whole Rock Compositions

|  | Whole Rock Samples |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Dome | Unit 1 | Unit 2 | Unit 3 | Unit 5 | Unit 5 Dense |
|  |  | LS21-99a | LS-2189 | LS21-87 | LS21-96 |  |
| SiO2 | 54.27 | 54.05 | 53.96 | 53.96 | 52.81 | 54.21 |
| TiO2 | 0.99 | 0.91 | 0.91 | 0.93 | 0.94 | 0.92 |
| Al2O3 | 17.72 | 18.49 | 18.71 | 18.86 | 18.23 | 18.19 |
| Fe2O3 | 9.30 | 9.11 | 8.94 | 9.38 | 9.21 | 8.83 |
| MnO | 0.21 | 0.17 | 0.17 | 0.18 | 0.17 | 0.18 |
| MgO | 4.06 | 4.26 | 3.97 | 4.38 | 3.96 | 3.93 |
| CaO | 8.40 | 8.91 | 8.94 | 9.15 | 8.70 | 8.50 |
| Na2O | 3.50 | 3.42 | 3.46 | 3.36 | 3.34 | 3.44 |
| K2O | 0.55 | 0.49 | 0.50 | 0.51 | 0.52 | 0.54 |
| P2O5 | 0.13 | 0.11 | 0.11 | 0.12 | 0.13 | 0.13 |
| Ba | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 |
| Sr | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 |
| H2O | 0.03 | -0.29 | 0.07 | -0.28 | 0.27 | 0.00 |
| Total | 99.20 | 99.70 | 99.80 | 100.60 | 97.80 | 98.90 |

Table S3 – Whole rock compositions in wt.% of dome and scoria samples analysed by ICP-OES. Fe2O3 is total iron and H2O is loss on ignition.

Melt Inclusion Reconstruction

Figure S3 – Liquid line of descent of FeO vs SiO2 and uncorrected olivine hosted melt inclusions showing up to 2 wt.% Fe loss in inclusions.

Figure S4 – Liquid line of descent of olivine- and pyroxene-hosted inclusions showing a negative correlation of Al2O3 with K2O used to predict plagioclase-hosted inclusion Al2O3 values for reconstruction.

Melt Inclusion Bubbles

Figure S5 – Bubble CO2 density as a function of bubble volume. Bubbles with CO2 vapour + carbonates have similar CO2 densities as bubble with only CO2 vapour.

Figure S6 – CO2 concentration of bubbles in melt inclusions from La Soufriere.

Figure S7 – Bubble volume vs inclusion volume for bubbles analysed by Raman spectroscopy. Isovolumetric lines indicate volume percentages occupied by each bubble in their respective melt inclusions. [A] Unit 1. [B] Unit 2. [C] Unit 3. [D] Unit 5.